## Aotearoa
Leader | Project Name | Project Focus | Description | Status | Objectives | Deliverables | Key Learnings | Links
Aurora Energy | Managing Demand | Technology Development/Integration (3), Network Management (5) Customer Engagement (2) | Operate a load management system to help reduce load at times of peak demand. Includes the management of storage heating loads (e.g. water heating, under-floor heating and night-store heating) and streetlights. Achieved by a) transferring storage heating loads to less expensive tariff periods and b) providing energy tariff options to electricity retailers. Aurora Energy’s load management system comprises a range of ripple signal injection devices located at five facilities. it is recommended that the following appliances be controlled: • Storage water heaters; • Residential storage water heaters above 135 litres; • Plug in electric vehicles on an 8-hour service at night; • Storage space heaters; • Under-floor heating; • Electric kilns • Spa and swimming pools. | Implemented (ongoing) | 1. Reduce capital investment and, over the longer time, lines charges to customers. 2. Reducing peak load pressure on Transpower's substations so they can reduce their charges. 3. Managing the demand on the Aurora Energy network when we're fixing faults. | 1. A demand management programme for industrial and large commercial customers connected to the Aurora Energy network: 2. Access to network control forecasts to help plan for network peak avoidance. 3. Monthly performance reports in kilowatts and dollars saved. | Learn function is to be enabled for time-based programs to provide a back-up feature should there be short-term issues with signal injection. The following parameters are required to be set for the commands listed in the table below: • Failsafe enabled after 24 hours since the last signal • Learn function enabled. | Managing demand on the Aurora Energy network https://www.auroraenergy.co.nz/media/v0tnespo/load-management-guide-august-2021.pdf
ChargeNet | EV charging hub at Tauranga Crossing | Technology Development/Integration (8) Market Development (2) | Charging hub can charge up to 10 vehicles at one time – more than any other in New Zealand – and can add up to 300km of range within 20 minutes – enough to power most EV journeys from Tauranga to Auckland or to Hamilton and back. The hub is designed to meet the growing demand for EV charging with its installed charging capacity. Building this capability at Tauranga Crossing reflects the fact that EVs continue to be an attractive proposition for all New Zealand drivers, from an economic perspective as well as reduced emissions. | In-progress |  |  |  | https://charge.net.nz/article/tauranga-crossing/
Cortexo | Project Flexviz | Technology Development (2); Network Management (4); Customer Engagement (2); Market Development (2) | Flexviz acts as a bridge between flexibility suppliers (owners or operators of distributed energy resources) who want to offer their flexibility to the system for some reward, and transmission and distribution utilities who want to access distributed flexibility as a more efficient tool for network optimisation and growth. Flexibility suppliers provide the data in near real-time. The only requirement is that the site supply data every five minutes, showing the amount of flexibility available and the amount of energy being supplied to your site that is not being drawn from the electricity distribution network (avoided import). Flexviz uses OpenADR's reporting capabilities to show the amount of flexibility available at every grid exit point (GXP) on the New Zealand transmission network. Cortexo provides its certified OpenADR-compliant (FlexSplice Hub and FlexSplice Edge) software for Project Flexviz, but any certified OpenADR VEN can be used to deliver data. Partnering with Ara Ake and Transpower | In-progress Commenced June 2024. | 1. Provide a bridge between flexibility suppliers and distribution utilities who want to access distributed flexibility as a more efficient tool for network optimisation and growth. 2. To show an increasing amount of available flexibility and actual interest by Transpower and EDBs to access that flexibility. In October 2024, the System Operator connected Flexviz to its Demand Management platform "Flexpoint" (also OpenADR certified) to allow visibility of flexibility and potential dispatch using OpenADR event signals. | 1. A practical tool, a shop window for availability flexibility in New Zealand. | There is a reluctance for EDBs to engage with non poles and wires solutions that don’t immediately solve a problem. There is an unwillingness of the users of flexibility to support an emerging flexibility, they would rather wait until it is ‘there’. This is an unrealistic approach. | Flexviz - Cortexo https://www.cortexo.com/about-openadr/ https://www.cortexo.com/cortexo-certified-openadr-products/ https://www.cortexo.com/flexviz/ https://www.araake.co.nz/news-and-events/news/projects-flexviz-and-flextalk/ https://m.youtube.com/watch?v=Q5ifCucOBXI
Counties Energy | Smart Meter Data Analysis | Network Management (7); Market Development (3) | New technologies are transforming our electricity network, which now provides data intelligence to help improve the way we deliver and use energy. Smart meters, which today cover more than 95% of the Counties Energy network, have played an active role in our transformation into a smart network. The smart grid produces a large volume of data that can be analysed and utilised for the benefit of customers and the network. Data collected by smart meters gives Counties Energy visibility to both the high and low voltage networks to prioritise, plan and communicate restoration and maintenance activities to customers. Continued investment into a host of new technologies such as Advanced Distribution Management Systems (ADMS) and Smart Meters to ensure the needs of a growing population that will increasingly embrace EV ownership and renewable energy sources such as solar and wind are met. | In-progress | 1. Data-driven decision-making; 2. Real Time Data for DSO transition; 3. Estimate current loads and demand forecasting | Using these insights, we can focus on non-network solutions e.g. targeted flexibility to defer or avoid targeted expenditure. Flexibility will assist in enabling CAPEX deferral and increasing overall network utilisation outside of traditional peak periods before further upgrades are considered. We continue to develop our flexibility capabilities and are involved in industry trials. | The empowerment of customers with energy usage has been made possible with data and analytics at the edge, meaning customers have access to real time data that help them make decisions as to when to use power, whether to draw this from the grid or from self-generated sources, and how much of it is used. | Our Smart Network - Counties Energy https://assets.countiesenergy.co.nz/app/uploads/2024/03/27163953/Counties-Energy_AMP_Document_2024.pdf
Counties Energy | Active energy orchestration | Technology Development/Integration (1); Network Management (5); Market Development (4) | Counties Energy has completed a major milestone in its programme to demonstrate an end-to-end operating model capable of active capacity and flexibility management with granular smart meter and low voltage (LV) electricity network data, with the aim of accelerating the company’s customer-centric transition to a distributed system operator (DSO). This milestone has utilised Plexigrid’s platform to take granular voltage, frequency and electricity consumption data from Counties Energy’s smart meters and LV network data, every five minutes and sent to the Data Lake part of the DSO platform, generating fast and accurate insights, analytics and reporting. This level of speed, granularity, accuracy and reliability of data has been possible through Counties Energy’s relationship with smart meter and energy data provider Intellihub, and its commitment to support advanced network operations. Data is then available to specialist DSO engineers to simulate different network and active orchestration scenarios such as power quality issues, impact of hot water load and heat-pump management, EV charging and solar PV uptake. Partnering with Plexigrid and Ara Ake | Completed | 1. Demonstrate an end-to-end proof of concept for active capacity management, with the aim of accelerating Counties Energy's customer-centric transition to a distributed system operator (DSO) strategy. This will support customer investment in distributed energy resources, such as electric vehicles and solar panels and enable their participation in active network orchestration services. | An end-to-end operating model capable of active capacity and flexibility management with granular smart meter and low voltage electricity network data. | The programme's next milestone will go further to use the intelligent DSO platform in an in-field pilot later this year, the core of which is based on learnings from South Australian Power Networks and their implementation of Dynamic Operating Envelopes (DOEs) using the IEEE 2030.5 protocol | https://countiesenergy.co.nz/media-centre/counties-energy-successfully-delivers-major-dso-programme-milestone-to-enable-active-energy-orchestration-for-customers/
Counties Energy | Second - life Berm batteries and EV charger buffer | Technology Development (3); Network Management (7) | Counties Energy is completing the life-cycle for used electric vehicle (EV) batteries by converting them into its Berm Battery energy storage system for recharging EVs. Partnering with Relectrify | Completed | 1. By making the connections between the network and berm battery storage, we are able to meet high demand loads such as EV charging and at the same time, reduce stress on the network, smooth the network load, decrease connection times and avoid or defer costly infrastructure upgrades. 2. Provide faster charging and resiliency. | Relectrify's CellSwitch technology, the ReVolve battery storage system stores 240kWh of energy, which uses 18 repurposed Nissan Leaf batteries. Based at a strategic state highway location at Mercer, Waikato. | The project demonstrates sustainable driving technology and how battery energy solutions can manage peak demand electricity usage cost effectively, ultimately benefiting the company, local electricity consumers, EV drivers and the environment. | Counties Energy repurposes end of life EV batteries to recharge new EV cars - Counties Energy
Counties Energy | Hot water demand flex initiative | Customer Engagement (3); Network Management (5), Market Development (2) | This initiative will allow electricity retailers to access its hot water load control capabilities to manage customer’s hot water flexible load. Most electricity distribution businesses (EDBs) have the ability to manage electricity directed to hot water cylinders and can turn off electricity to these cylinders during peaks in demand. This capability is a key tool used to manage household consumption during peak demand. Hot water heating typically accounts for around 30% of a household’s electricity use, representing one of the largest flexible loads available for use and an ideal flexibility resource to ease pressure on the system. By collaborating with electricity retailers on this service, we acknowledge the critical role that demand-side flexibility will play in supporting the transition to a low-carbon energy future while also offering a unique opportunity to deliver tangible cost savings for customers and enhancing network resiliency Partnering with retailers | EOI stage | 1. To support further resilience, bring additional customer savings and address energy hardship. | This initiative aims to deliver meaningful benefits, particularly to households facing energy hardship, by lowering bills and providing new value through innovative retail offerings.
Counties Energy | TSO-DSO pilot project | Market Development (8); Network Management (2) | The six-month project, the first of its kind in New Zealand, will see the electricity distribution and transmission system operators working hand-in-hand to develop visibility of the entire system, from the low voltage electricity network to the transmission grid level. The project will utilise Counties Energy's emerging DSO capabilities, the Counties Energy-owned OpenLoop EV charging platform, and smart metering data live to within five minutes of present usage. These capabilities will see the utilisation of dynamic operating envelopes communicating with EV chargers connected to the OpenLoop network. The bi-directional information exchange with Transpower's FlexPoint will enable the participants to adjust CERs based on real-time conditions within the energy system. Partnering with Transpower | In-progress | 1. Unlock 'grid edge flexibility', demonstrating an end-to-end proof of concept for active flexibility coordination and orchestration of CERs between a TSO and DSO. The pilot will look to demonstrate how the TSO and DSO processes can increase visibility of the available flexibility, the coordinated use of flexibility between the TSO and DSO, and coordination between key participants such as distributed energy resource (DER) aggregators. | The project will investigate and pilot technology and processes to support information exchange and coordination of flexibility use between Counties Energy's Distribution System Operator (DSO) capabilities and Transpower, the Transmission System Operator (TSO). |  | Counties Energy and Transpower collaborate on TSO-DSO pilot project - Counties Energy
EA Networks | Transport Electrification Project | Network Management (10) | EA Networks is interested in developing a more granular understanding of transport decarbonisation to allow it to identify the potential load growth and implications of this growth on its network. Running 16 September to 8 November 2024. Currently completing public charging analysis for various sites. Have commenced with the write up for private EV charging. Partnering with DETA consulting | In-progress | 1. Development of regionally specific transport information and insights - a) disaggregate transport into two groups covering six transport categories, b) for each of the transport categories and types, the following will be addressed, i. current state - analysis of the current energy usage of each of the transport categories ii. decarbonisation pathway - analysis of the most likely decarbonisation scenario; iii. future electricity demand for each category 2. Analysis of summary findings. | Report summarising the findings and recommendations of the investigation: a) Vehicle technology transition modelling b) Demand growth projections and assumptions c) Key areas of risk/opportunity for EA Networks
EEA | FlexTalk 1.0 | Technology Development/Integration (7); Market Development (3) | Partnering with EECA ; FlexTalk (Demand Flexibility Common Communications Protocol Project): OpenADR® (Open Automated Demand Response) communications protocol was selected and used for testing. The pilot tested the feasibility of OpenADR and developed the procedures needed for the active management of electric vehicle (EV) charging in near real-time. | Completed | The aim of the project was to explore how to better enable customer flexibility to be utilised by testing the interoperability of a two-way common communication protocol between an electricity distribution company and flexibility supplier. | The FlexTalk pilot project used certified VTN products from Transpower (FlexPoint™), Gridfabric (Canvas Cloud) and Cortexo’s (FlexSplice Hub). FlexPoint was used for Part A, which tested one-way communication while Gridfabric and Cortexo’s products were used for Part B where two-way communication was tested. Cortexo provided the certified VENs (FlexSplice Edge) for both parts of the pilot trial. | 1. Open communication standards and protocols are a key enabler of flexibility 2. Assessment of the OpenADR communication protocol within FlexTalk met all defined assessment criteria for ‘least-regrets’ functionality to enable flexibility. | https://eea.co.nz/what-we-do/projects/flextalk/reports-and-resources/
EEA | FlexTalk Seed Project (1.5) | Technology Development/Integration (7); Market Development (3) | Partnering with EECA; This project is a collaborative initiative between the Electricity Engineers’ Association (EEA), the Energy Efficiency and Conservation Authority (EECA) and power industry sponsors, working together to address a key challenge: how to unlock the potential of demand flexibility to benefit consumers, networks and the wider energy system. | In-progress | Project aimed to: 1. evaluate selected technologies for their suitability for demand flexibility, 2. assess the cost, installation complexity and scalability of selected consumer devices, and 3. provide insights to inform future FlexTalk projects and smart device installation best practices | The FlexTalk Seed Project, built on the knowledge gained from the previous trial to test open communication protocols and signal transmission between flexibility suppliers and smart devices in consumer homes. This knowledge provides New Zealand-specific documentation of device signalling and control functionality, including signals to turn devices on, off, up, and down. | TBA | https://eea.co.nz/what-we-do/projects/flextalk/ https://eea.co.nz/what-we-do/projects/flextalk/reports-and-resources/
EECA | Methodology to assess the impact of increasing EV charging in LV networks | Network Management (10) | EDBs are facing challenges assessing whether existing network infrastructure is fit for purpose in the face of growing EV charging demand. Guidance is required to enable EDBs to assess network adequacy, by considering: • When, where and what level of network infrastructure reinforcement might be required? • What charging behaviours might be encouraged to improve demand diversity? • What After Diversity Maximum Demand values should be adopted for future residential developments in the face of increasing EV loads? Modelling future scenarios is one method to provide guidance in the face of uncertainty. Partnering with the University of Canterbury and EPE centre | Completed | 1. To provide guidance to EDBs in order to assess network adequacy concerning the uptake of EV chargers. | 1. A steady state probabilistic methodology to assess the impact of increasing EV charging in LV networks. Features the following: a) A probabilistic approach to encompass a diversity of base loads, EV uptake and charging behaviours. b) NZ-centric inputs e.g. representative EV fleet data, a NZ sourced journey database and local base demand data. c) A flexible scenario builder than can be reconfigured according to EDB preferences, for example to explore the effects of characteristics such as charging behaviour. d) EV State of Charge monitoring to provide realistic scenarios. e) An optimised fast power flow solver to support the large number of scenarios simulated. f) Results generated over the course of a week to capture the time dependence of loads and charging behaviours. | A methodology for modelling and analysis has been developed. EV hosting simulation results are presented in terms of the likelihood of congestion violations at different levels of EV uptake. Comprehensive results are made available in an Excel spreadsheet, including: • Transformer loading and a summary of the voltage and current violations for each sub-network, • Key distribution results for the voltages and currents for each individual conductor segment. | EV-Host-Brochure.pdf.coredownload.pdf (canterbury.ac.nz)
EECA | Residential space and hot water heating | Technology Development (10) | EECA and the Australian Department of Climate Change, Energy, the Environment and Water (DCCEEW) have consulted on a Space Heating Comparison Methodology. EECA is also leading a joint project with Australia to improve the energy efficiency of water heating in residential households, under the Equipment Energy Efficiency (E3) Programme. | In-progress | A review of the hot water policy will offer a number of potential benefits and opportunities for change, including: a) consistent regulation of all hot water systems available for purchase in the transTasman market irrespective of technology type b) consistent, mandatory energy labelling which will allow consumers and installers greater access to information to make well informed purchasing decisions c) changes to advice for consumers and purchasing behaviours to favour more energy efficient hot water products and will reduce household energy bills and reduce greenhouse gas emissions d) greater alignment of the standards and regulations for hot water products across Australia and New Zealand with potential to use international standards and test methods | Space Heating: proposed methodology identifies how to define and calculate space heater energy consumption, efficiency performance and associated metrics. The consultation only considers technical methodology and does not consider regulatory requirements for space heaters. Any proposal for regulatory requirements would be subject to a separate public consultation. Hot water System: project will develop a relational database of current hot water systems available in Australia and New Zealand. This includes an evaluation methodology suitable for assessing the energy efficiency of all hot water system technologies and fuel types. |  | https://www.eeca.govt.nz/regulations/regulatory-requirements-under-review/hot-water-systems/ https://www.eeca.govt.nz/regulations/regulatory-requirements-under-review/residential-space-heaters-in-australia-and-new-zealand/
Electricity Authority | Guidance on distributor involvement in the flexibility services market | Market Development (10) | The Authority has developed draft guidance on distributor involvement in the flexibility services market. This work was based on the risk that distribution businesses use their unique position, or are perceived to be doing so, to affect other businesses wanting to provide flexibility services, ultimately inhibiting competition in the flexibility services market. This project seeks to address this potential risk and is part of their broader work on updating regulatory settings for distribution networks. While not yet finalised, it demonstrates the Authority’s current view on how distributors could be operating in the flexibility services market in the future, to ensure a more even playing field. Guidance includes seven principles and provides examples for how it is expected for distributors to implement them. The Authority has recently reprioritised its extensive and varied work programmes. While the guidance remains part of the Authority’s work programme, it is not currently being progressed while it focuses on other more pressing work. Although the guidance is still a draft, the Authority encourage distributors to follow the principles. | Completed | Distributors implementing the principles will create better conditions for efficient and timely investment in networks, support increased flexibility by making these new technologies more viable for consumers and the sector, and encourage innovation. This should benefit consumers by providing them with more choice, and relatively lower prices, particularly for distribution services, over time. | Principle 1: Distributors should treat all suppliers even-handedly when procuring flexibility services as inputs to regulated electricity distribution services. Principle 2: Distributors should be even-handed with all flexibility traders connecting to their distribution network. Principle 3: Flexibility services and regulated electricity distribution services should not be jointly promoted, or bundled together in a way that advantages the distributor. Principle 4: Distributors should generally not provide non-commercial (below cost) flexibility services. Principle 5: Distributors should protect confidential information supplied by third-party flexibility traders. Principle 6: Distributors should share non-public network information even handedly. Principle 7: Distributors should ensure that the cost of regulated electricity distribution services is not inefficiently increased through self-or related-party supply of flexibility services. |  | Guidance on distributor involvement in the flexibility services market (ea.govt.nz)
Energy Share | Residential Picosolar | Market Development (10) | EnergyShare's business is for its members. We aim to provide our Picosolar lease systems prices so that customers don't pay more for solar than their regular electricity bill. Customers own a share in Energyshare co-operative and get a share of its profit. Battery storage is available to members at very competitive prices. Picosolar's lease price is fixed for the lease term. It doesn't increase like grid electricity does. Its cheaper than just buying grid electricity. EnergyShare looks after maintenance and warranties, and provides tools and advice to help customers save by using less energy. | In-progress | 1. Enable leasing a Picoisolar system from the company you have a share in is the best way to own solar. 2. Ease of getting a solar PV system for our home and 'almost' no money down option while saving on power bill from the start. |  |  | http://energyshare.co.nz/residential_solar/
EVisi | Optimise and manage fleet EV charger power distribution | Technology Development (3); Network Management (7) | EVisi has integrated its siteCharge software used to optimise and manage fleet EV charger power distribution, with Vector's Distributed Energy Resource Management System (DERMS). The work will assist with managing peak power demand to enable more EV chargers to utilise the existing electricity networks while delaying potential infrastructure upgrade requirements. Partnering with Vector | In-progress | 1. Optimise charger power profiles so the total charge site power demand does not exceed the power limit at any point in time. Distribute available power to each charger to optimally deliver power without exceeding the Vector limits. The optimisation algorithms also attempt to shift as much of the charge energy to lowest electricity price time periods to minimise EV charge costs. |  |  | https://www.evisi.co/2023/04/20/evisi-integrates-sitecharge-with-vector-networks-derms/
Flex-Able | Synergy Heat | Technology Development/Integration(5); Customer Engagement(2); Network Management (3). | Synergy Heat is a product incorporating specifically engineered components forming an ecosystem that delivers modern control for commercial storage hot water systems. The system allows modern demand response tactics to be deployed at both small and large scales, from an individual site level through to large, aggregated load groups. Specialist hardware is installed at businesses with large hot water storage systems. This hardware then gathers data and communicates back to a centralised control and dispatch software. This software, called “Flex,” can then be used remotely to control loads based on various demand response requirements. Synergy Heat can support New Zealand's goals of achieving net zero greenhouse gas emissions by 2050 by assisting with some of the issues associated with electrification : 1. How to deal with challenges associated with the intermittent nature of renewable electricity generation, and 2. How can New Zealand electricity consumers be enabled and supported to get the best value from intermittent generation? Partnering with Mobolo Technology Limited | In-progress | 1. Overall reduction in energy consumption 2. Reduce peak electricity demand | Equitable access to flexibility tariffs - an essential initial setting to create a level playing field to foster much-needed innovation and consumer uptake. |  | flex-able.co.nz
Flex-Able | Synergy Irrigation | Technology Development/Integration(5); Customer Engagement(2); Network Management (3). | Smart Irrigation Control. Control irrigation pumps remotely to turn pumps on and off via text message. Connecting assets into our load network can help to build grid resilience and better price stability in the future. Partnering with Mobolo Technology Limited | In-progress | 1. Overall reduction in energy consumption 2. Reduce peak electricity demand | Automated interaction with power pricing; Reduction in carbon emissions when automated to respond to energy pricing and generation signals |  | https://www.flex-able.co.nz/site_files/42328/upload_files/SynergyIrrigation.pdf?dl=1
Meridian Energy | Demand Response - New Zealand Aluminium Smelters Limited (NZAS) | Customer Engagement (3); Network Management (7) | New Zealand needs to build more flexibility into its electricity market and demand response has an important role to play. Meridian Energy Limited (Meridian) and New Zealand Aluminium Smelters Limited (NZAS) have entered into an agreement for NZAS to reduce its consumption of electricity at the Tiwai Point smelter and provide demand response flexibility. There are a number of separate tranches of demand response flexibility that Meridian can call, with each tranche having different ramp-down and ramp-up requirements. Meridian would pay NZAS a fixed price for each MW reduced by NZAS under the demand response agreement. Partnering with New Zealand's Aluminium Smelter | Completed | Manage demand using flexibility | Continue with a reduction of 18.75 MWh per half hour until 30 July 2024; reduce further progressively between 30 July 2024 and 18 August 2024 in accordance with the Demand Response Agreement; and reduce by 69.375 MWh per half hour from 19 August 2024 until 24 September 2024, |  | https://www.meridianenergy.co.nz/news-and-events/meridian-and-nzas-demand-response-agreement
Meridian Energy | Supporting the decarbonisation of Open Country Dairy | Customer Engagement (3); Network Management (7) | Meridian is supporting the Open Country Dairy in replacing its existing coal boiler with a high-pressure electric boiler. This change will result in a massive reduction of 41,110 tCC02eq annually. Meridian have also been able to secure an agreement for demand flexibility. Partnering with Open Country Dairy | In-progress | 1. Working with customers to help them electrify their industrial heat processes. 2. To secure an agreement for demand flexibility. | Open Country Dairy will be compensated for reducing demand by up to 27MW when required to remove pressure from the electricity systems, such as in winter peaks or periods of low hydro storage. | Agreements like this are an important and growing trend, enabling electricity savings to be freed up for use elsewhere in the system and reducing the need for fossil fuel generation during these periods. Demand flexibility allows Meridian to intelligently manage when and how we use electricity, ensuring a cost-effective path towards decarbonisation, while still keeping the lights on. | https://www.meridianenergy.co.nz/news-and-events/supporting-the-decarbonisation-of-open-country-dairy
Meridian Energy | Ruakākā Energy Park | Customer Engagement (3); Network Management (7) | A 100-megawatt battery energy storage system (BESS), currently under construction, and a proposed 120-megawatt solar farm located near Marsden Point in Whangārei. It will have a storage capacity of 200MWh, which means its maximum output will be enough to power around 60,000 average households doing winter for two hours. As companies like Meridian grow the amount of renewable energy from sources such as wind and sun – where the timing of generation can’t be guaranteed – battery energy storage systems provide somewhere to store energy for use when demand is high. March 2023 to early 2025 Partnering with Transpower | In-progress | 1. Increase the amount of renewable electricity to meet New Zealand's growing demand for electricity with clean energy. 2. Reduce the reliance on electricity generated from other parts of the country and help improve the security of electricity supply for all kiwis. 3. Smooth out fluctuations in energy supply, and ensure a more secure, stable and resilient electricity grid. | The BESS is due for completion in early 2025, when it will be connected directly to Transpower’s Bream Bay substation at 33kV. | Solar farms and batteries, alongside hydro stations and wind farms, are part of the solution to reduce New Zealand’s reliance on fossil fuels and support our transition to a resilient net zero economy. | https://www.meridianenergy.co.nz/new-projects/ruakaka-energy-park
Network Waitaki | LV Feeder Monitoring | Network Management (10) | Monitor key LV transformers and feeders to increase understand of real-time hosting capacity, congestion, and power quality. Currently real-time power quality and congestion monitoring established for 240 out of 376 low voltage feeders and 105 out of 300 key transformers. Purpose: Integration of LV monitoring platform into planning function of business; Developing custom business reports to understand transformer and feeder utilisation and constraints; Hosting capacity, network planning & forecasting; and link into future stage of customer self service at LV Level. Due for completion 31/3/25 Partnering with Powerco | In-progress | 1. Understand customer's energy trends. 2. Develop a baseline to allow us to model future customer energy scenarios. 3. Understand real-time constraints on transformers and low voltage feeders. 4. Ensure no damage on low voltage assets. 5. Ensure efficient network investments and provide best value to customers. | A low voltage monitoring system that will monitor the low voltage feeders and transformers of Oamaru urban domestic customers. Will provide real-time power quality data and allow an understanding of the constraints on the LV assets to the level of each conductor in a low voltage feeder. Will also investigate the value of smart meter NODS data and have engaged a Metering Equipment Provider (MEP) with 70% coverage of connected customers to provide trial NODS data. Will also engage a data analytics platform provider to ingest the NODS data, along with the data from the low voltage monitoring system. Develop a self-service hosting capacity map for load and generation at the high voltage level of the network. | Monitoring allows us to develop risk-based transformer and LV feeder hosting capacity methodology and allows modelling of 2050 scenarios and development of investment plan. Half hourly consumption data is less useful to us than NODS data as it does not provide sufficient resolution to detect short-term overloads (which we expect to become more important as other parties control more of our customers' flexible resources). Also, it does not provide voltage information which is important to understand actual impacts from electric vehicles and solar generation. There are concerns that without competition or regulation, MEPs are able to set NODS data prices significantly higher than incremental cost which may reduce economic justification to use these data services and result in customers paying a premium for their own data. There are also concerns that some MEPs appear to have minimum contract tenors in the order of several years which we consider excessive, especially when we are in the early stages of investigating the value proposition for our customers. | Network-Waitaki-additional-disclosure-requirements-August-2024-v2.pdf; networkwaitaki.co.nz; and 2025 AMP
Network Waitaki | Hosting capacity maps (11kV and 33kV) | Network Management (10) | Develop web-based subtransmission and HV feeder hosting capacity maps for generation and load as an initial step to customer self-service. Due for completion 31/3/25 | In-progress |  | Powerfactory synchorisation, hosting capacity calculation methods and PowerfactoryàESRI results output for maps; hosting capacity, network planning & forecasting; and first stage of customer self service at HV Level.
Northern Energy Group | DSO Evolution | Market Development (10) | Development of a shared vision for industry evolution and the role of DSO in the future energy system. The work ran from October 2022 to February 2024 Partnering with Vector | Completed |  | 1. Industry architecture 2. Enabling policy and regulation | A number of trends are combining to evolve the role distributors play in designing and operating their networks. Unlocking maximum value for consumers will require new enabling regulation, and the development of new capability by distributors and market participants alike. | https://www.linkedin.com/posts/northern-energy-group-neg_neg-vision-on-the-dso-evolution-activity-7165419774091481088--VEo/
Orion | Lincoln Flexibility | Technology Development (2); Network Management (5); Customer Engagement (3) | Lincoln is seeing large scale residential growth, raising electricity demand. Traditionally that growth would require more infrastructure, however by utilising batteries already in the community, Orion is looking to reduce network demand at key times, for instance winter morning or evening peaks. Orion went through a competitive procurement process (EOI and RFP) to seek an alternative solution to traditional network build that could reduce peak demand in the area and chose to partner with Ecotricity as the flexibility service provider. Flexibility from residential-based batteries has been and will be used to reduce peak electricity demand in the area in winter 2024 and 2025 and could also potentially be used to lessen the impact of an outage in the area. The project run September 2023 to September 2025 - currently preparing for Winter 2025. Partnering with Ecotricity | In-progress | 1. Provide valuable insight and evidence on the effectiveness of flexibility services procurement. 2. Develop an end-to-end solution, integrated to Orion's systems, to communicate with Ecotricity and dispatch when required. 3. Inform the definition of Orion's requirements for a flexibility management system. | All Orion Internal deliverables: 1. Business requirements documentation 2. Implementation design documents 3. Test plan and reports 4. PowerBI Dashboard 5. OrionFlex Dashboard | Project still ongoing - early lessons learned: Close collaboration with the Flex provider is required to ensure success Internal processes to consider flexibility services as a non-traditional solution (to defer investment) has been matured Translating the service definition from contractual agreements into a straightforward operational solution has been challenging The community boundaries for the area and the electricity network do not completely align making customer recruitment challenging as some customers interested in participating have been outside the required zone. | https://www.oriongroup.co.nz/your-energy-future/innovation#e82
Orion | Visibility and System Insights for the Orion Network (ViSION) | Technology Development (2); Network Management (8) | EDBs have traditionally had poor visibility of the condition and behaviour of their low voltage networks, which were planned for reasonably stable passive household loads with one-way power flow. However, recent trends in DERs have seen increased two-way power flows on the network. Developing visibility of and capability in the low voltage area is essential to efficient electricity network management, and facilitating customer choice and participation in demand response. First stage is focussing on data gathering and integration. The three sources of data being smart meter operational data, low voltage distribution transformer monitors, network topology. In October 2023, Orion became the first EDB to sign a contract with Bluecurrent for the ongoing supply of 5-minute operational data from smart meters on our low voltage network. The project runs FY24 to March 2025 Partnering with ANZA and Gridsight | In-progress | 1. To develop visibility of and capability in the low voltage area for efficient electricity network management and facilitating customer choice and participation in demand response. 2. Gain access to required data. 3. Trial new methods and techniques for data receipt, storage, cleansing and security. 4. Trial at least 2 advanced digital platforms with the data sours and determine use cases. | 1. Triangulated analysis of 3 separate data sources 2. LV network analytics platform RFP. | The amount of third party data being received has been cited as the biggest challenge of the project. Generally EDBs have experience processing their own in-house data, but lack experience with third party data. Having 5-minute 24/7 data for near 200,000 customers now flowing to Orion mean they are a leader in understanding some of the challenges associated with such data integration. The learnings made from the development of this project will be valuable for other EDBs. Work is being done to consult overseas third-party platform providers around system security requirements to enable New Zealand privacy law to be met, which would also be valuable information for other EDBs. Currently trialling two modelling tools of two Australian based companies. By 2025, will issue an RFP to international and national data analytics companies seeking a LV data solution. | Orion ViSION innovation allowance application - June 2024 (oriongroup.co.nz) https://www.oriongroup.co.nz/your-energy-future/innovation
Orion | Hot Water Flexibility Trials | Technology Development (3); Network Management (5); Market Development (2) | Develop and trial short-term solutions to ensure coordination of hot water flexibility, while maximising value to consumers. The project runs September 2024 to March 2025. Partnering with retailers | In-progress | 1. Working with retailers and other EDBs to develop a load management protocol to coordinate shared control. 2. Understand how the ripple control works with retailer meter control. 3. Collect data on the effect of hot water shared control. | Load management protocol Internal dashboard to analyse hot water flexibility |  | innovate@oriongroup.co.nz
Orion | Community Energy Activator | Customer Engagement (10) | A pilot programme designed to foster community-led energy solutions that are sustainable, resilient and scalable across diverse urban and rural settings. The pilot is made up of nine diverse community groups exploring energy initiatives with a focus on social, economic and environmental impacts and the integration of community energy projects on the Orion network. The energy activator provides exploration opportunities from optimising grid edge resilience and preparing or potential growth of community energy in the future. Community energy can also support Orion's commitment to a net-zero future while enhancing energy efficiency and local community hubs. The programme collaborates closely with communities to identify the unique local energy needs and exploring the investment of such projects. The project runs August 2024 to February 2025 Partnering with Ara Ake and Community Energy Network | In-progress | 1. Exploring efficiency of our network by enabling community led-solutions and innovation that reduce overall energy demand, lower peak loads, and increase energy literacy in adopting renewable generation and load that can directly impact demand management strategies. 2. Resiliency: Exploring Community Energy Projects DERs, batteries and microgrids that can bolster local resiliency and provide backup, especially for projects for communities on the grids edge. 3. Future energy-solutions: Understanding NZs energy transition by exploring diverse community energy models and technologies. | Learnings Report (due March 2025). |  | www.ceactivator.co.nz
Orion/Wellington Electricity | Resi-flex (Phase 3 – Co-design and Trials) | Network Management (4); Customer Engagement (3); Market Development (3) | Trial commercial mechanisms and how they enable customers' ability to provide flexibility. The project aims to incentivise flexibility from residential consumers by exploring commercial mechanisms in collaboration with flexibility stakeholders. It Comprises of three phases. 1. The first phase focuses on identifying user requirements from various perspectives across the flexibility value chain, including consumers, flexibility stakeholders, and distribution network companies. 2. The second phase involves developing a commercial framework to define a range of mechanisms to incentivise flexibility. 3. The third phase involves partnering with flexibility suppliers to co-design consumer offerings based on the selected commercial mechanisms and trial these with consumers. These trials will help inform EDBs on which mechanisms to scale, ultimately creating opportunities for residential consumers to provide flexibility, while supporting equitable outcomes for all consumers including those in energy hardship. The project runs 1 September 2024 to 1 October 2025 Partnering with Octopus Energy | In-progress | 1. Complete trials with a significant number of customers and show the ability of residential households to provide flexibility. 2. Understand needs, preferences and barriers of all stakeholders across the flexibility value chain and estimate the value of flexibility from households to all. 3. Inform the development of fair and effective distribution pricing and flexibility services. 4. Observe the response from real-world customers to propositions that reflect the value of flexibility. | 1. Smart meter data analysis to understand the effectiveness of the commercial mechanism, a final project report. - Consumers' requirements and personas. - Flexibility provider user requirements. - EDB use cases. - Commercial framework. - Assessment of the customer value stack over time. - List of regulatory changes needed. - Trial specifications template/checklist. - Trials design documents, results/learnings. - Refined offerings shared in learning documents and plan for implementation. | From trials so far, it is clear that there is a significant ability and desire to reduce electrical consumption for monetary rewards. | https://www.oriongroup.co.nz/assets/Your-energy-future/Resi-Flex-EOI-phase-3-trials-Mar-2024.pdf Learnings from previous phases are available here: https://www.oriongroup.co.nz/your-energy-future/innovation#Resi-flex
Powerco | Smart EV charging project | Customer Engagement (5); Network Management (5) | From 2021 to 2023, data was collected on how New Zealanders charge their electric vehicles at home so that preparations can be made for the electricity network for an EV future. 80 EV drivers were recruited to collect information about participants' charging habits and see their impact on the electricity network. | Completed | To learn: 1. When and how often participants charge their EVs. 2. How they feel about managed charging. 3. What impact EV charging has on peak times, with and without managed charging. |  | Management of EV charging was deemed unobtrusive to participants. In April 2022, 93% participants had been satisfied with their managed charging experience. 38% of people felt their EV not charging as much as expected, 95% of people were willing to continue with EV managed charging in future. Additionally, 90% of people didn't regularly override the managed charging and 70% of people didn't override at all. Indicating that the smart charging can be easily adopted with little interference in people's lives. As expected there is a linear increase of overrides as throttling was increased. The effect of EV chargers on the network was also analysed (using the After Diversity Maximum Demand). | Smart EV Charging Project (powerco.co.nz)
Powerco | High voltage demand capacity map | Network Management (10) | Powerco released a new high voltage demand capacity map in July 2024, giving customers access to quality electricity network data. This is vital to empowering commercial and industrial businesses to decarbonise and enable New Zealand to achieve net-zero emissions by 2050. The map is accessible via links on Powerco’s commercial and industrial electricity and EV charging infrastructure webpages. | Completed | 1. Make it easier for large customers to get an indication of how much capacity is available on Powerco's electricity network in their proposed project locations. 2. Help customers to understand opportunities or limitations very early on in their awareness and decision-making process. | A high voltage demand capacity map. | Providing information about network planning, capital contribution and pricing models. | New high voltage demand capacity map (powerco.co.nz)
Powerco | Coromandel network support using virtual power plant technology | Customer Engagement (3); Network Management (5), Market Development (2) | The system is a virtual power plant, made up of a network of hundreds of community-based smart energy storage and solar generation systems on homes across the region. Using this system, solarZero will provide 1MW of network support to Powerco to help maintain its electricity supply to customers in the north Coromandel during peak consumption times. To be completed over the next 6 years, beginning in 2023. Partnering with SolarZero | In-progress | Provide 1MW of network support to Powerco to help maintain its electricity supply to customers in the north Coromandel during peak consumption times. | SolarZero are delivering a virtual power plant, made up of a network of hundreds of community-based smart energy storage and solar generation systems on homes across the region. | TBA | solarZero to supply Coromandel network support to Powerco using virtual power plant technology
Powerco | Residential hot water control trial | Technology Development/Integration(2); Customer Engagement(4); Network Management (4) | In a trial involving more than 20,000 residential connections across Powerco’s network, the company worked with retailers and metering equipment providers, to test technology to enable electricity demand flexibility. The trial included trialling different control periods tailored to household historical usage patterns. Powerco currently has the ability to control approximately 195,000 hot water cylinders of homes and businesses, through traditional ripple hot water control. However, emerging technology allows such control to be more responsive to network demand or pricing signals. Electric hot water accounts for about 30% of power bills and many residential hot water systems are heating all the time. Enabling retailers to switch off hot water cylinders to avoid peak times when electricity prices are higher, without affecting customers’ hot water supply, has the potential to reduce power bills. With that initial trial proving successful, retailers are now trialling larger numbers of customer connections on Powerco’s network Partnering with retailers | In-progress | Improve residential customer power bills. |  | Results: 1. Shifting load out of network peaks: The major network hypothesis in the trial was that periods of retailer control lined up positively with periods where the network may be constrained, such as peak load periods. 2. Improved network efficiency: By reducing peak demand, the trial showed new methods to optimise network performance. Enhanced customer options: Customers will benefit from increased retailer control over their energy consumption and potential cost savings. 3. Demonstrated potential for new business models: The success of the trial has opened doors for exploring innovative pricing and service offerings for retailers and Powerco. 4. Stronger industry collaboration: The project has fostered successful partnerships between Powerco and retailers by enabling the controllable load to be used for lots of different things - avoiding high energy prices and reducing network peaks. | Residential hot water control trial (powerco.co.nz)
Powerco | Ultra-fast electric vehicle (EV) chargers | Technology Development/Integration(3); Customer Engagement(3); Network Management (4) | Z Energy Ngatea EV Charger (Kwetta)- the units respond to customer needs, network needs and the owner’s requirements without the need for upgrades to the network is exciting technology. Partnering with Kwetta | Completed | Respond to customer and network needs without the need for upgrades to the network. | Ultra-fast electric vehicle chargers. | The installation of the new EV chargers have allowed Powerco to delay upgrading the network's capacity. Uses innovative silicon carbide semiconductor technology to deliver ultra-fast 200kW charging to multiple EVs at the same time. The technology has the smarts to help manage power consumption during periods of high network load. Can look at the demands on the network and vary the power accordingly, minimising the impact on the local power grid, while still delivering fast charging for EV owners. Can be found at Z Energy Waiouru, Masterton, Ngatea and Z Energy New Plymouth. | New EV charging stations power up New Plymouth (powerco.co.nz)
PowerNet | Smart Energy Living | Customer Engagement (5); Network Management (5) | Smart Energy House, Southland. Equipped a standard two-bedroom house in Invercargill with smart energy technologies such as as solar panels, battery storage, energy smart appliances, heat pump powered hot water and space heating, and an electric vehicle with a home-charging station. | In-progress | 1. To understand how new tenants adapt to using smart technologies such as solar panels, battery storage, energy smart appliances, heat pump powered hot water and space heating, and an electric vehicle with a home-charging station. This information will help plan the best way to manage the South's electricity assets in the future. |  | The tenant took advantage of the off-peak power savings. The tenant was made more aware of power usage during the trial. The tenant considered using the access to timer technology and the hot water heat pump for heating water in their own house. The tenant desired the ability to control all their appliances from one app. | Smart Energy Home – PowerNet
Rio Tinto | 20-year demand response agreements with Meridian Energy , Contact Energy and NZAS | Customer Engagement (4); Network Management (6) | The new electricity arrangements include 20-year demand response agreements with Meridian Energy and Contact Energy, under which NZAS may be requested to reduce electricity consumption by up to a total of 185MW. This will help ensure secure electricity supply to New Zealand homes and businesses when it is most needed. NZAS, which owns and operates Tiwai Point, has signed contracts with electricity generators Meridian Energy, Contact Energy and Mercury NZ to set pricing for an aggregate of 572 megawatts (MW) of electricity to meet the smelter’s full electricity needs. The agreement will ensure the smelter will stay open for two more decades, prolonging its longevity. The agreements, which are subject to regulatory approvals and other conditions, are expected to commence in July 2024 and run until at least 2044. Partnering with Meridian and Contact | In-progress | 1. Help ensure electricity supply to New Zealand homes and businesses when it is most needed. |  | If the correct financial incentive is offered, demand flexibility can be increased by these means. Such demand response flexibility by major power users could help keep costs down for consumers and households. | Long-term future for New Zealand’s Tiwai Point aluminium smelter secured with new power deals (riotinto.com) https://cleantechnica.com/2024/06/07/rio-tinto-enters-into-demand-response-agreement-with-renewable-energy-suppliers-in-new-zealand/#:~:text=Last%20month%2C%20Rio%20Tinto%20signed%20an%20innovative%2020-year,is%20guaranteed%20for%20the%20life%20of%20the%20agreement.
Simply Energy | Open Country utilise its electric and coal boilers in the most carbon-efficient way using Simply Flex | Technology Development/Integration(2); Network Management (2); Market Development (6) | Fossil fuel power plants are often ramped up during periods of peak demand (e.g., cold winter mornings and evenings) to help everyone stay powered. This means that carbon emissions from electricity can be significantly higher during peak demand periods. Given the changing carbon profile of electricity, Open Country wanted to see if there was a way to utilise the boilers at its Awarua plant in the most carbon-efficient way. This included a recently installed electric boiler which operates alongside existing coal boilers that will be replaced as part of Open Country's greenhouse gas emissions program. The Simply Flex platform would switch between their coal and electric boiler when the carbon profile of electricity is likely to be low, which typically corresponds with low electricity prices. Partnering with Open Country | Completed | To help Open Country utilise its electric and coal boilers in the most carbon-efficient way. | Installed Simply Flex, to enable Open Country to operate its electric boiler automatically in response to periods of low electricity pricing when the grid is typically greener. | Integrating flexibility into its operations using Simply Flex has enabled Open Country to benefit from low wholesale market prices, increase electricity use, and clock up further carbon savings. In the first ten months of implementing the solution, Open Country displaced 5,900 tonnes of coal and reduced emissions by 10,600 tCO2e. Using parameters such as coal price, the mix can be optimised to increase the use of the electric boiler as coal prices rise. Companies can also create additional revenue streams by participating in Frequency Response, which involves turning equipment off for a few seconds to a few hours. This could be in response to a grid event, such as a generation outage or network constraint. | Open-Country-Case-Study.pdf (simplyewebnz.wpenginepowered.com)
Smartco | LV Data Reports | Network Management (10) | For almost a decade, HIKO technology has produced high value LV data that New Zealand networks need for GIS, ADMS, customer management and BI applications. Some networks remain uncertain about the challenges and priorities they may wish to tackle using Low Voltage Data insights, but HIKO makes these decisions easy by providing not just the data that’s needed but also a proven and intuitive reporting and visualisation toolkit. Partnering with Hiko | In-progress | Provide an enhanced data processing or a complete data visualisation platform to enhance networks. | Enhanced data only: 1. Send raw data from smart meters or other sources. 2. Process, enhance, and deliver this data via cloud-hosted AWS platform. Securely store, process, and distribute data using proprietary algorithms. Visualisation: 1. Combine enhanced data with Hiko Visualisation for real-time insights into the network's performance and challenges. 2. Gain immediate insights into network conditions, such as fault locations, voltage compliance, outages, and distributed generation performance. | TOP 10 most valuable LV Data reports as used by engineers, planners and commercial teams around New Zealand. | What we do — Hiko
Top Energy | LV Data Capture and Visibility project | Network Management (10) | Intended to accurately capture, document, and quantify our LV data set. | In-progress | Accurately capture, document and quantify the LV data. | Two GIS based maps: 1. The first captures locations of PV installations to visually represent congestion or hot spots on the network that could potentially develop constraints. Continue to monitor Solar Uptake on the Network monthly. 2. The second map forms part of an investigation on the Distribution System. This is a heat map that identifies potential constraints based on ADMD. Also intend to roll out more LV monitoring devices on the distribution transformers as part of a capital project in FY25. | Access to smart meter data is still cost prohibitive based on the current offering Top Energy receive. | Amendment-D3.3-Network-constraints.pdf (topenergy.co.nz)
Transpower | Non-transmission solutions | Network Management (10) | Transpower was seeking proposals from potential providers of non-transmission solutions in the upper South Island, to help manage growing electricity use at peak times. | In-progress | Sought non-transmission solutions that could help reduce electricity load to either meet the need or defer the timing of transmission upgrades, including major new lines, at an overall lower cost to Transpower customers. | Solutions would be in place before 2029. Were seeking NTS that could contribute up to an initial 63 MW of reduced electricity demand at peak times in the first year of operation, growing to provide potentially 150 MW of reduced electricity demand by 2031. | After receiving a range of valuable responses to the published RFP, Transpower decided that while there is potential for non-transmission solutions (NTS) to cost effectively defer investment in new transmission equipment by one or more years. The limited existing NTS capacity and uncertainty around future pricing for when the solution is needed were key deciders for Transpower to pause their investigation and review them closer to the date the solution is needed. | Request for Proposals: Upper South Island Non-Transmission Solutions ¦ Transpower
Unison | Low Voltage (LV) Network Visibility | Network Management (10) | Advancements in technologies such as electric vehicles charging, and other DER can and will have a significant impact on network loading if they are not understood and managed accordingly. With uncertainty surrounding uptake rates for electric vehicles and small-scale DER, having a singular view of future demand on the network is not adequate. Unison has initiated a LV Visibility project that will identify the likely information required by the business in relation to the LV network in the future. This will allow the development of strategies and processes to enable this information to be efficiently collected. This project is expected to improve the accuracy and confidence of LV modelling in NCF. Unison has created a low voltage data framework and is developing strategies to cost effectively capture both static and dynamic data. In 2022/23, Unison successfully captured phasing data on 50 percent of its network and gained access to consumption data for a quarter of its ICPs. Unison is now trialling the usage of smart meter data and analytics platforms to increase the visibility and understanding of LV networks. | In-progress | increase the visibility and understanding of LV networks. Learnings from trials will inform the ongoing strategy | Unison has developed and is undertaking a programme of work to enhance both static and dynamic asset information for low voltage networks. This initiative supports safety, investment efficiency, and the capability of the network to host distributed energy resources. |  | https://www.unison.co.nz/media/caedqdt5/unison-information-disclosure-lv-visibility-and-analysis-2-october-2024.pdf
Vector Limited | EV Smart Charging Trial in Auckland | Technology Development / Integration(5) ; Network Management (2) ; Customer Engagement (3) | 24 month trial of 200 EV users to gain a greater understanding of customer EV charging behaviour and the network requirements for at-home charging, as well as look into how smart charging solutions could help manage peak network demands. EV charger installed at each participant's home. Partnering with Evnex and Auckland Transport | Completed | 1. Understand more about customers' EV charging behaviour and preferences. 2. Understand more about customers' perceptions of managed smart charging and show that while using smart charging we can still meet customer expectations and satisfaction levels. 3. Demonstrate how smart charging solutions can provide flexibility for integrating EVs into the network, while ensuring an affordable transition for electrification of transport (by avoiding network peaks). 4. Obtain baseline data for AKL EV charging and what impact this has on household loads and peaks. 5. Understand diversity of EV charging across all levels from LV up. 6. Quantify the actual benefits of being able to optimise or shape EV charging at the connection level. 7. Deep customer research to identify and understand consumer values and preference sets around EV charging and start to understand the differences between consumers. 8. Confirm that EV smart charging can be done in such a way as to be acceptable to customers (ideally with high satisfaction levels) whilst delivering network benefits. | A webinar detailing the findings of the trial. | The trial demonstrated that smart charging can successfully integrate EVs into the network while delivering customer satisfaction. Customers were consistently happy for Vector to manage their EV charging within reason. They showed increasing recognition of the better outcomes for society as a whole from smart charging, such as more affordable electrification and decarbonisation. Customers who aren't engaged in their power bills are more likely to charge during peak time, while those who are engaged are more likely to charge off-peak. The EV Smart Charging Trial has shown that clever charging algorithms can reduce electricity demand during peak hours without affecting customer satisfaction. The use of smart chargers will enable an affordable transition for electrification of transport by avoiding network peaks (this reduces the need for more electricity infrastructure, and the ensuing costs passed on to the consumer). Under the EV charging behaviours observed during the trial, the impact of EV charging on the low voltage network will be 2-7 times more than the impact on the shared high voltage network (including transmission and generation). This is because, within a smaller group of customers, it is more likely they'll be coming home at the same time and therefore plugging in to charge. Customers are using EV on-board timers to delay the start of charging until 9 pm. This risks creating secondary peaks. Access to smart meter data and EV registration data will help networks manage early adoption on the LV network. Flexibility to shift charging is available for charging sessions longer than 4 hours. Network impacts are lower than expected on MV/HV. LV impact will be more pronounced as loads less diversified. Coordination with demand flexibility programmes will be needed (e.g. HWLC). | https://www.vector.co.nz/articles/ev-smart-charging-trial https://blob-static.vector.co.nz/blob/vector/media/articles/20220216-ev-smart-charging-trial-esig-shared.pdf
Vector Limited | Vector Auckland Transport Flexible Connection | Technology Development / Integration (3) Network Management (3) Customer Engagement (2) Market Development (2) | Partnering with Auckland Transport and WSP | In-progress | Enabling the economic electrification of buses and ferries through opportunities for depot charging flexibility, network connections, tariffs and dynamic peak management. | Connection Operating protocols Communications protocols Flexible connection commercial arrangements | Large-scale transport electrification can be enabled at reduced cost through flexible connections, without compromising customer experience. | VTS video on LinkedIn
Vector Limited | Smart DER management settings | Network Management (6) Market Development (4) | Setting out the overall value proposition for managed EV charging, the two main approaches being considered for managing distributed flexibility internationally, and the enabling arrangements to realise value from avoided network investment. Commercial arrangements and operational settings Enabling policy and regulation. Partnering with NERA | Completed | Provide a study and recommendations on EV infrastructure, such as charging. | Promoting Efficient and Affordable Infrastructure to Enable Electrified Transport - Report for Vector | There is a significant value proposition for consumers from managing EV charging. Distributors require certainty over location and term to be able to defer investment, especially at low-voltage level. Response to pricing alone cannot give the certainty required. There are a range of parallel mechanisms in place on the grid and in overseas markets, such as dynamic operating envelopes. | https://blob-static.vector.co.nz/blob/vector/media/vector-2023/nera-report-for-vector-20230228-v1-0.pdf PowerPoint Presentation (vector.co.nz)
WEL Networks | Network Visibility - Minute Data Deployment | Network Management (5); Customer Engagement (3); Market Development (2) | WEL Networks has successfully deployed 5-minute data across its LV network of 68,600 smart meters. The first network-wide deployment of 5-minute data in New Zealand, which stemmed from the completion of an advanced smart meter data collection project on the WEL smart meter fleet. The project involved new system installations, headend upgrade, meter profile development and a new data collection system. This gives the ability to provide a greater service to customers, by improving the safety of the network and the ability for customers to leverage their investment in renewable energy or electric vehicles while ensuring the reliability and availability of electricity. |  | 1. Enable LV network visibility strategy to build towards a network transformation Distribution System Operator (DSO) model. 2. Provide greater service to customers by improving the safety of the network and the ability for customers to leverage their investment in renewable energy or electric vehicles while ensuring the reliability and availability of electricity. |  |  | Network Visibility Increases with Industry First 5-Minute Data Deployment (wel.co.nz)
WEL Networks | Utility Scale Battery Energy Storage System (BESS) | Technology Development/Integration(5); Network Management (5) | Constructing a 35 MWh BESS in Rotowaro, Waikato for 100% renewable future. The BESS is set to deliver huge benefits to the Waikato by providing an energy storage facility which will improve the resilience of the New Zealand electricity system, while also increasing the value of intermittent renewable generation in the region. Partnering with Infratec and Power Electronics | In-progress | 1. Reducing the need for non-renewable energy sources. 2. Maximise the benefits of solar power, providing charging capacity for electric vehicles and back up during grid emergencies. It will store enough energy to meet the daily demands of over 2,000 homes and will be capable of providing fast reserves support for the North Island grid. | First to market bringing off shore storage technology to enhance local renewable generation and support our national transmission system and renewable generation market. |  | Launch of New Zealand's First Utility Scale Battery Energy Storage System (BESS) (wel.co.nz)
WEL Networks | Dynamic voltage management | Technology Development (3); Network Management (7) | One important challenge of decarbonisation is to maintain a high-quality and fit for purpose supply within the prescribed voltage limits. Dynamic Voltage Management is a data-driven technique, utilizing the huge potential of smart meter data to drive optimal performance on existing network equipment. A Dynamic Voltage Management System (DVMS) dynamically adjusts voltage regulation output to provide optimal supply voltage to all downstream consumers. Overseas experience purports that DVMS can significantly improve system voltages and reduce customers complaints without investing in significant new network infrastructure. Perception Consulting working with WEL networks has performed a case study of DVMS on WEL's network using data from WEL's fleet of smart meters. The case study has revealed two distinct methods of DVMS. A ‘closed loop’ real-time system dynamically changes the supplied voltage in near real-time using online smart meter data. Whereas an ‘open loop’ pre-computed system relies on engineering analysis performed in advance and local control by the voltage regulating relays. The modelling has shown that there’s a considerable opportunity to enhance voltage performance at the sites studied. It has been particularly effective in minimizing occurrences of excessively high voltage while preserving acceptable lower voltage levels. The project runs December 2023 to February 2025. A case study has been completed. Trial sites in service with early learnings. Final report due February 2025 Partnering with Perception consulting | In-progress . | 1. Creating compliance limits for smart meter voltage data. 2. Defining the technical requirements DVMS. 3. Creating the method of calculating open loop DVMS settings from smart meter data. 4. Modelling the expected performance of open loop DVMS at zone substations and voltage regulator sites. | Based on the results of this case study, WEL is proceeding to trial open loop DVMS at both sites. The trial will provide practical experience in implementing open -loop DVMS on actual equipment and help to validate the results of the modelling done in the case study. The results of these field trials should be available in the first quarter of 2025. | - Practical experience in implementing open-loop DVMS on actual equipment. - Validate the actual performance at the trial sites including: - Number of non-compliant supply points before and after DVMS. - Difference in average tap change operation before and after DVMS. - Performance during network switching and fault. | Enhancing Voltage Performance : With Dynamic Voltage Management Systems and Smart Meter Data; EEA 2024 Conference, Christchurch.
Wellington Electricity | Wellington Solar and battery VPP | Technology Development/Integration(2); Customer Engagement(3); Network Management (3); Market Development (2) | The Wellington CBD, Southern and Eastern suburbs of the city are mainly supplied by one substation, meaning that an outage impacting this substation could potentially lead to a large number of Wellington's population losing electricity supply. Parts of the network are also nearing capacity limits, which will ultimately require Wellington Electricity to consider additional investment to maintain reliable electricity supply. The project provides an opportunity to trial the application of coordinated distributed energy resources, assess how they could benefit the network and whether they could provide an alternative to additional network investment. | In-progress | Trialling the following: 1. Automated control of customer-owned distributed energy resources to support the network. 2. Utilising distributed energy resources as an alternate solution to building more 'poles and wires'. 3. Increasing local generation around the Wellington region in turn to increase network resiliency. | DEMAND FLEXIBILITY - During times of high power demand on the network, Wellington Electricity’s network control room automatically provided signals to Contact’s Virtual Power Plant (VPP). Contact’s VPP is connected to customer devices, enabling the batteries to discharge and the hot water cylinders to reduce load, ultimately supporting the network. | This project provided an opportunity to trial the application of coordinated distributed energy resources, assess how they could benefit the network and whether they could provide an alternative to additional network investment | https://www.welectricity.co.nz/assets/Uploads/Case-Study-Wellington-VPP.pdf
Wellington Electricity | EV Connect Roadmap | Technology Development/Integration(4); Network Management (2); Market Development (4) | Our studies show that a small EV will increase household electricity use by 35%. There are concerns that relying on traditional methods will mean services will be too expensive and the network can't be built fast enough to keep up with increasing demand. The EV Connect project investigated how more energy could be delivered through the existing network and developed a roadmap to achieve this. The Roadmap was developed from stakeholder input. Fifty stakeholders provided input via workshops and consultations - stakeholders ranged from policy makers at MBIE, other distribution networks, Transpower the national grid owner and operator, regulators including the Commerce Commission and the Electricity Authority, electricity retailers, consumer advocates and EV user groups. Partnering with EECA; GreenSync; Good measure; Genesis; Jet Charge and Charge Fox. | Completed | To investigate how EV chargers could be used to shift the demand to less congested periods on the network. The roadmap has two objectives: 1. Deliver customer value while continuing to provide. 2. Deliver a safe, resilient and affordable electricity distribution services. | Technology trial to test the software tools needed to manage EV chargers. The development of a Roadmap of the actions needed to accommodate EVs. The actions include the development of flexibility services which are needed to manage the additional demand. | WELL's analysis of the new CCC targets indicates that: 1. Accommodating EVs will have the largest impact on electricity demand. If demand is not shifted away from peak periods, networks will have to be rapidly upgraded to accommodate an estimated 130% increase (by 2050) in peak demand energy consumption. If demand from EV charging and the shift from gas to electric hot water heating can be shifted to less congested times, this would support an ordered planning approach, reduce the additional network capacity needed, and lower the size of price increases to customers. 2. Customer Value: Consumers will recognise the full value of participating in flexibility services through a transparent, commercial process, where shifting their demand can be dynamically allocated to where this provides the most value. Prices will need to reflect the different values that each purchaser receives from different flexibility services - a value that will change depending on the time and location of the service being offered. It will also be important to ensure there are no barriers to competition - that anybody can participate and flexibility services are open for anybody to use. Roadmap phase 1: Demand management services to a single buyer starting with simple service offerings using one way power flows. Roadmap phase 2: Multiple services offered to multiple buyers delivering the full customer stack. These services will include two-way power flows allowing consumers to trade their excess energy to other users. | 322 (welectricity.co.nz)
CentrePort / Ara Ake | CentrePort Battery Energy Storage Pilot | Technology Development/Integration; Network Management | CentrePort is tackling the challenge of decarbonising its operations by electrifying heavy vehicles and piloting innovative energy solutions. With plans to install EV chargers, they face electricity supply constraints. Supported by Ara Ake, CentrePort is exploring a Battery Energy Storage System (BESS) to enable sustainable growth and network innovation. | In progress | 1. Manage electricity demand within the current supply capacity. 2. Continue electrification and decarbonisation goals without triggering costly network upgrade | TBC | TBC | https://www.araake.co.nz/project/centreport-battery-energy-storage-pilot
Ara Ake | Queenstown Flex Challenge | Technology Development/Integration; Network Management | The Queenstown-Lakes District, including Queenstown and Wānaka township, is experiencing rapid economic growth and electrification, driving the need for significant investments to transmission and distribution infrastructure upgrades. To address this, Powernet, Aurora and Transpower are undertaking a joint work programme to identify the best infrastructure investment options to meet these needs. They have developed scenarios for electricity demand growth in the region | In progress | 1. Manage demand using flexibility in respect of Population and other economic growth 2.Decarbonise transport, including road, air and off-road vehicles and electrify heating and cooking 3.Explore the role of how much flexibility or demand response could moderate peak demand growth and potentially reduce or defer the need for infrastructure investment. | identification of both near and long-term opportunities to develop commercial or technology solutions that moderate demand peaks or enable demand response in the Queenstown-Lakes District. | TBC | https://www.araake.co.nz/project/queenstown-flex-challenge
Rewiring Aotearoa / Ara Ake | Rewiring Aotearoa Machine Count | Technology Development/Integration | The initiative surveys Kiwi homes, businesses and farms, integrating these finding with existing data to map national energy usage on a granular level. It will identify potential cost savings from switching fossil-fuel machines to electric alternatives and measure the emissions reductions possible through electrification. | In progress | 1. Understand the number of fossil fuel machines in homes, businesses, and farms across New Zealand which need to be electrified to meet our nation’s emissions targets. | Give New Zealanders resources to understand how they can save on energy bills Allow households, farms and businesses to identify their own electrification opportunities Provide Government with data-informed guidance to support the transition to a low-emissions future. | TBC | https://www.araake.co.nz/project/rewiring-aotearoa-machine-count
Ara Ake | Kainga Ora Multiple Trading Trial | Customer Engagement; Market Development; Technology Development/Integration | In 2022, Kāinga Ora discovered that customers with solar panels were utilising only about one-third of their generated solar energy, due to a disconnect between solar generation and residential demand. The other two-thirds were returned to the grid at low rates. To address this, Ara Ake and Kāinga Ora partnered in 2022 to create a Multiple Trading Relationships trial. This solution separates import and export registers at solar-equipped social housing ICPs, enabling Kāinga Ora to capture the value of excess solar energy and benefit energy-hardship customers. | In progress | Develop a solution that: 1. Maximises the benefits of solar energy for all customers, even those whose homes are not suitable for solar panels. 2. Allow customers to continue using solar energy and purchase additional electricity from the grid, maintaining their consumer rights. | Evidential proof of energy savings, grid injection rates, and the impact of the installed technologies. | The program has demonstrated: 1. That installing solar panels on social housing can provide annual savings of $350 - $1000 per year for residents 2. Added 2.9MW of solar generation capacity, enough to power approximately 500 homes. 3. Introduced Allume SolShare technology to New Zealand, enabling solar energy use in complexes and multi-tenant buildings. 4. Has addressed the challenge of linking multiple solar-equipped homes into a single energy generation asset through a ground-breaking multiple trading trial. 5. Allowed Kāinga Ora to capture and sell excess solar energy, using the revenue to help address energy hardship among other customers. | https://www.araake.co.nz/project/kainga-ora-mtt
Ara Ake | Community Energy Activator | Customer Engagement; Market Development; | A collaborative initiative between Ara Ake, Orion Group and the Community Energy Network, aimed at empowering communities to establish resilient energy projects. Based on the Ara Ake Community Energy How-To-Guide, it offers a curriculum that helps individuals and groups develop project plans and business models, ensuring the long-term success of community energy initiatives. | In progress | 1. Empower local communities to actively participate in and benefit from renewable energy | TBC | The first Activator programme offered Orion – the local lines company in the Canterbury region – valuable insights into emerging community energy models and their potential impact on their electricity distribution business | https://www.araake.co.nz/project/community-energy-activator
Ara Ake | Community Energy How-to-guide | Customer Engagement; Market Development; | This guide is written by passionate advocates of community energy, to inspire communities to help guide community energy journeys | Complete | Create Community Energy How to Guide | Community Energy How to Guide |  | https://www.araake.co.nz/project/community-energy-how-to-guide
Ara Ake | Raukawa Energy Innovation Project | Technology Development/Integration | An initiative in South Waikato where temperature sensors were installed in homes to monitor exposure to cold, aiming to address energy hardship through data-driven strategies | In progress |  | Pre-Testing Phase: Baseline Report which outlines the findings from phase, shedding light on the realities of energy hardship in New Zealand. | The report highlights the urgent need for the energy sector and government to implement equitable solutions and policies that include vulnerable populations in the energy transition. | https://www.araake.co.nz/project/raukawa-energy-innovation-project
Ara Ake | Multiple Trading Relationships | Customer Engagement; Market Development; Technology Development/Integration | Ara Ake is leading a programme of trials and research considering how Multiple Trading Relationships might benefit New Zealand households, businesses and communities, and help to integrate distributed energy resources into the electricity system. | In progress | Explore and demonstrate the benefits of Multiple Trading Relationships (MTR) in New Zealand, with the aim of integrating distributed energy resources (DER) into the electricity system and increasing consumer choice and competition in the energy market. | Providing practical demonstrations of Multiple Trading Relationships (MTR) to support the case for updating electricity regulations, enabling greater consumer choice and flexibility. | 1. The need for regulatory adaptation - current electricity regulations, designed for unidirectional energy flow, are inadequate for the modern multidirectional energy landscape with increasing distributed energy resources (DER). 2. Multiple Trading Relationships (MTR) can enhance consumer choice and increase competition in the energy market by allowing consumers to contract with multiple suppliers. 3. MTR can facilitate the integration of DER, such as solar panels and battery storage, into the electricity system. 4. MTR enables innovative business models like Virtual Power Plants (VPPs) for demand management and supports community energy initiatives. 5. MTR differs from general "energy sharing" but can facilitate it. Other methods of sharing exist that do not require MTR. 6. Community batteries are a key part of the future of energy sharing and MTR. | https://www.araake.co.nz/project/multiple-trading-relationships
Ara Ake | EDB Challenge | Technology Development/Integration; Network Management | Aiming to improve LV network visibility. Collaborating closely with electricity distribution businesses (EDBs), Ara Ake identified specific issues and conducted a global search for innovative, pilot-ready solutions to enhance New Zealand's electricity distribution networks. | Complete | Identify specific issues in respect of LV visibility for NZ EDB's and conduct a global search for innovative, pilot-ready solutions to enhance New Zealand's electricity distribution networks. | 1. Demonstration of global solutions to inform approaches in NZ to LV visibility. 2. Connection of global innovators to NZ organisations to drive innovation pilots | 1. New Zealand's electricity grid, designed for centralized generation, faces challenges in managing the growth of distributed energy resources (DER) on low-voltage (LV) networks. 2. A global search for innovators resulted in the identification of pilot-ready solutions from New Zealand, Australia, the USA, and Europe. 3. Limited access to smart meter data at a reasonable cost was identified as a key barrier to improving LV network asset management and maintaining service affordability. | https://www.araake.co.nz/project/edb-challenge
Ara Ake | Winter Peak Innovation Pilot | Technology Development/Integration; Network Management | In May 2023, Ara Ake teamed up with SolarZero to explore how solar batteries and smart technology could help manage electricity supply shortages during peak demand periods over winter. The collaboration also involved the Electricity Authority and Transpower as the System Operator. | Complete | Demonstrate Managing peak demand and supply on cold winter days through coordination of distributed energy resources, particularly household batteries | Demonstration of capacity to manage winter peaks | A large residential VPP, such as SolarZero's, can coordinate thousands of household solar and battery systems to provide significant capacity during peak periods. Coordinating distributed energy resources, particularly household batteries, offers a viable solution to manage increasing peak demand and variable generation. The 30MW capacity provided by SolarZero's VPP during winter 2023 proved valuable when available capacity was critically low. | https://www.araake.co.nz/project/wpip
Ara Ake | Stationary Battery Energy Storage Systems Analysis Report | Technology Development/Integration; Network Management | Provide a technical and commercial comparison of various battery energy storage system (BESS) chemistries which are currently available on the market suitable for intraday shifting. | Complete | Evaluate various battery energy storage system chemistries to provide insight into several long duration energy storage offerings. | A report covering a technical and commercial comparison of various battery energy storage system (BESS) | 1. NiH2 batteries are a strong choice for storage durations of 12 hours or less due to their long useable lifetime (30 years) and high charge/discharge cycle count (30,000). 2. Calcium-antimony batteries are identified as another promising technology due to their high energy output and low LCOS, similar to NiH2. | https://www.araake.co.nz/project/stationary-battery-energy-storage-systems-analysis-report
‍

## International
Country | Leader | Project Name | Project Focus | Description | Status | Objectives | Deliverables | Key Learnings | Links
Australia | AGL | PLUS ES – South Australia Demand Flexibility Trial | Technology Development/Integration (3); Network Management (5); Customer Engagement (1) ; Market Development (1) | A trial in the SA Power Networks area, utilising up to 20,000 existing smart meters to dynamically orchestrate hot water (HW) load. The trial involves development of a technical enabler for retailers to dynamically control hot water load in near real time. This will allow retailers to target periods of low wholesale pricing, high renewable energy generation, and/or shift HW load to access lower wholesale pricing and maintain grid security. This solution will address challenges posed by midday demand and generation imbalance and will drive smart meter adoption in the market. Partnering with University of New South Wales | Completed | 1. Demonstrate at scale the technical capability of dynamically controlled HW load as a load shaping tool for retailers. 2. Determine the additional value of dynamic near real time control of HW over static schedule-based control. 3. Define the limits of HW load management without impacting customer amenity and network stability. 4. Increase the knowledge relevant to renewable energy technologies by sharing project insights through the knowledge sharing deliverables. | The Project includes the development of two software platforms: - A Load Management Portal for retailers to view, manage and execute commands for eligible controlled loads. - An Application Programming Interface (API) which allows retailers to integrate their decisioning platforms with the smart meter for the purposes of near real time orchestration. The developed technology will support two core use cases: - Planned demand shifting: shift HW loads dynamically for a predefined set period. Use cases for this may include shifting demand from night-time to daytime in response to PV generation seasonality. - Real-time demand shifting: shift HW loads in near real-time based on predetermined business events including wholesale market price signals, within operational and network constraints regarding randomisation. | Since the beginning of the trial, the PLUS ES API and load control portal has been operating smoothly. This has allowed AGL to successfully control the fleet of electric water heating systems and test different control strategies without any technical difficulties. The trial has also shown that using the API solution is the preferred solution to control the smart meters as control can be automated and does not require any manual intervention. AGL has successfully operated the PLUS ES dynamic load control system to control and schedule the hot water systems. The system accepts AGL load control calls via the API built by PLUS ES and enables the management of smart meter and electric water heating scheduling. AGL’s static scheduling from July 1st - Oct 16th has shifted around 43% of hot water energy into daytime. Since 9 Nov, AGL has implemented dynamic scheduling which, despite showing more variation of shifted load across different days, has increased the proportion of hot water load that is shifted into daytime to around 47%. | PLUS ES South Australia Demand Flexibility Trial - Australian Renewable Energy Agency (ARENA)
Australia | AGL | AGL Dynamic Pricing Load Flex Trial | Network Management (3); Customer Engagement (5); Market Development (2) | The project aims to dynamically shift commercial and industrial loads to match renewable energy production on a day-to-day basis. AGL is trialling the use of a 30-minute interval price intensity forecasting tool (with seven bands from ‘very high’ to ‘very low’) as a proxy for renewable energy utilisation (as there is a correlation between price and renewable energy market share). Automated loads will be shifted up and down during the day based on the price forecast. The aim is to trial seven sites within four sectors: › Large scale cold stores (freezers) › Supermarket refrigeration/air conditioning › Large site air conditioning › Water utilities. Through AGL’s trial, the development of the price intensity forecasting tool will help to reduce barriers for industry to take up renewable energy, shifting usage to times which can lower power bills and reduce strain on the grid. Partnering with ARENA | In progress | AGL will trial the use of a price intensity forecast to dynamically manage flexible commercial and industrial loads to maximise the utilisation of renewables in the National Energy Market (NEM) and minimise costs. | AGL’s tool will work by developing a pre-dispatch forecast of solar and wind generation, and thermal generator availability to produce 30-minute interval price forecasts for the next seven days. The customer sites’ process management system will plan the operation of their energy usage based on the forecast by moving load in or out of the 30-minute blocks. Through the tool, the trial customers will be able to respond to price signals and demonstrate the benefits of load flexibility without exposure to wholesale market risk. |  | https://arena.gov.au/projects/agl-dynamic-pricing-load-flex-trial/
Australia | AGL | AGL EV Orchestration Trial | Technology Development/Integration (3); Network Management (3); Customer Engagement (3); Market Development (1) | AGL’s EV orchestration trial had three streams: - A trial of orchestrated residential EV smart charging with 200 participants having their charging controlled via a smart charger installed in their homes. - A trial of two emerging charging technologies–vehicle API charging control (100 vehicles) and Vehicle to Grid (V2G). - A control group of 100 customers on a time-of-use tariff to assess the effectiveness of a tariffication incentive against that of firm charging control Partnering with ARENA | Completed | To assess the value of controlled charging as a distributed energy resource. | Phase 1: Recruit and Build – recruitment of all trial participants, installation of charging hardware in homes and development of an aggregation platform to manage and control charging. Phase 2: Operate – test and trial the various solutions in the field, collate charging data for detailed analysis and carry out customer research. Phase 3: Close-out – transition customers from the trial, analyse the data and publish the final project report. | Early data from the trial has demonstrated that controlling home chargers remotely using the OCPP protocol is effective in reducing demand at peak times. Overall residential charging load is smaller and more diverse than expected. Only around 16% of home chargers are used every day. The expected early evening peak in charging load is absent from the baseline data. EV customers on time-of-use tariffs are already responding strongly to the tariff signals and moving their charging to off-peak periods. Customers are receptive to having their charging controlled provided they have the ability to opt out. The opt outs are rarely used. Vehicle API control is a promising technology that provides a high degree of visibility and control of vehicle charging, although some issues remain to be ironed out. | https://arena.gov.au/knowledge-bank/agl-ev-orchestration-trial-lessons-learnt-report-4/
Australia | AGL | Realising Electric Vehicle-to-grid Services (REVS) trial | Technology Development/Integration (5); Network Management (3); Customer Engagement (2); | The REVS pilot tested vehicle-to-grid services using 51 Nissan Leafs in the ACT Government fleet. The project took delivery of the EVs, installed charging infrastructure and integrated hardware and software across multiple sites. The object of the pilot was to deliver FCAS from a fleet of EVs. Partnering with ARENA and The REVS consortium- ActewAGL, Evoenergy, Nissan, SG Fleet, JET Charge, ACT Government and the Australian National University. | Completed | Demonstrate how commercially available electric vehicles (EVs) and chargers can contribute to energy stability by transferring power back and forth into the grid, as required. | A fleet of vehicles using bi-directional chargers will supply FCAS to the NEM and thereby provide services that improve energy security and avoid blackouts. It will also be the first time an EV fleet will be paid for providing electricity services, testing new revenue streams that could improve the total cost of ownership of EVs. | The research with REVS fleet end-users initially revealed anxieties about negative impacts on business continuity during installation and vehicle availability during operation. Since then, these fears have generally not been realised, especially because vehicle availability risk has largely been borne by ActewAGL. However, practical issues of interoperability between vehicles, chargers and parking spaces, as well as questions about charger handover and management processes, have emerged. | https://arena.gov.au/knowledge-bank/realising-electric-vehicle-to-grid-services-final-social-report/
Australia | AEMO | Project EDGE | Technology Development/Integration (1); Network Management: (1); Customer Engagement (4); Market Development (4). | Project EDGE (Energy Demand and Generation Exchange) is a multi- year project to demonstrate an off-market, proof-of-concept Distributed Energy Resource (DER) Marketplace that efficiently operates DER to provide both wholesale and local network services within the constraints of a specific area of the power distribution grid. Project EDGE trialed a variety of models for integrating price-responsive CER, including facilitation of system level services via both a centralised common data hub and a decentralised data hub. Ausnet and AEMO built and operated systems and processes that would be required for real-time integration including distribution operating envelopes, forecasting, bids and dispatch. Partnering with AusNet; ARENA | Completed | 1. Demonstrate a functioning Marketplace where – customer-owned DER are integrated into the electricity distribution network operating envelopes – the operation of the DER provides required services that are incentivised by market outcomes 2. Improve understanding of the future roles and responsibilities of Distribution System Operator functions and Distribution Market Operator operations within the NEM 3. Improve understanding of customer insights of how a distribution services marketplace can deliver increased value to customers 4. Improve understanding of the overall costs and benefits of different DER Marketplace models to inform process, technology and regulatory changes which are in long term consumer interests. |  | 1. Consumers value financial benefits, trust, transparency, and being able to use their devices when needed 2. Aggregators can follow AEMO intervention targets when directed during unexpected events, but coordination among actors will be needed to ensure targets are achieved within dynamic network limits 3. Implementing a technology approach for scalable data exchange that is novel for the industry will require careful planning and clear information on the deployment experience and long-term benefits for participants | https://arena.gov.au/projects/project-edge-energy-demand-and-generation-exchange/
Australia | Ausgrid | Project EDITH | Technology Development/Integration (1); Network Management (2); Customer Engagement (2); Market Development (5). | Project Edith is testing dynamic network pricing, where the network operator sends specific locational prices to the trader that can change every 5-minutes based on the congestion in the network. Project Edith undertook a study to examine the different features of dynamic pricing compared to network support procured directly or from a marketplace Partnering with ARENA, Reposit, Origin, Energy Australia | Ongoing | Test ways in which dynamic network pricing can be used to: - Remove barriers to the participation of customers' energy resources in energy markets through efficient pricing - Allocate distribution network capacity in a decentralised manner through dynamic allocation and; - Incentivise network support, such as voltage support from customer's energy resources | Trialling a pricing model to provide fairer pricing for customers who modify their energy usage in ways that support network stability and electricity demand. | The analysis suggests that there are many advantages and efficiencies due to dynamic network pricing, such as: • Simple contracting and delivery approach. Traditional network support often (although not always) suffers from baselining and contracting challenges that may be a barrier to offering or procuring the services. • Scale-up feasibility. As dynamic network prices leverage the communication and forecasting capabilities required for dynamic operating envelopes, and may fit into existing network billing systems, it limits the number of new systems that must be developed and integrated. • Choice. As customers are not required to respond to dynamic prices, and dynamic prices would be offered on an opt-in basis, customers retain flexibility in how their CER is used. | https://arena.gov.au/assets/2024/01/DEIP-Market-Integration-Trials-Summary-Report-2.0.pdf
Australia | Enel X | Enel X Commercial Refrigeration Flexible Demand Project | Technology Development/Integration (3); Network Management (3); Customer Engagement (3); Market Development (1) | The project seeks to demonstrate and maximise the flexible demand potential of commercial refrigeration at retail stores and refrigerated warehouses. Partnering with ARENA | Ongoing | This project aims to support uptake of flexible demand in commercial refrigeration sectors through: - reducing the upfront cost of metering and control solutions to improve the economics for small sites; - demonstrating the business case for flexible demand at a variety of smaller facility types (compared to traditional C&I demand response); - demonstrating the customer value proposition of an innovative ‘Flex Retail’ structure that incentivises load shifting on an up to daily basis; - enhancing the quantity of flexible demand through site upgrades; and sharing project insights through the knowledge sharing deliverables. | The project aims to demonstrate the business case for different uses of FD in commercial refrigeration across two sectors: - 15.5 MW across ~440 grocery stores, focusing on reducing costs of metering and controls to access smaller loads (20~30+ kW each). - 5.4 MW across 13 refrigerated warehouses (12 existing and one new), focussing on: Incentivising and optimising 2–6 hours per day of load shifting, and New ‘Flex Retail’ commercial structure and site upgrades. |  | https://arena.gov.au/projects/enel-x-commercial-refrigeration-flexible-demand-project/
Australia | Intellihub | Intellihub Demand Flexibility Platform Project | Technology Development/Integration (6); Network Management (2); Customer Engagement (1); Market Development (1) | Intellihub is developing digital infrastructure for virtual power plants (VPPs) in the form of a demand flexibility platform to enable orchestration of over 500MW of consumer devices. The vast majority of CER is at present ‘inflexible’, meaning it’s not possible to harness the benefits of flexibility. To date, the industry has not been able to efficiently aggregate these resources into VPPs at scale due to the cost and complexities of integrating multiple device types and device manufacturers. This project aims to overcome these barriers by delivering an end-to-end solution that enables connectivity to multiple device types and manufacturers through a single integration, enabling enrolment of more than 100,000 devices into VPPs. Intellihub and GreenSync will partner with device manufacturers to develop the connectivity layer that enables flexible operation of customer devices. The project is targeting registration of over 100,000 devices totalling over 500MW on the demand flexibility platform. The project will allow VPP operators such as retailers and networks to enrol multiple device types across different device manufacturers in their VPPs through a single integration with the demand flexibility platform, providing a cost effective and secure pathway to enabling device connectivity at scale, and enabling more consumers to participate in VPPs. Partnering with GreenSync | In-progress | 1. Improved commercial readiness by unlocking the financial opportunity for device owners and market participants to benefit from the orchestration of these resources by accessing wholesale market and network services revenue. 2. Removal of barriers to renewable energy uptake through supporting DNSPs to deliver non-network services, delay augmentation and reduce customer costs, and supporting energy retailers to develop new customer offerings that together incentivise the uptake of controllable devices. | A platform that is agnostic to device manufacturer, retailer and aggregator, enables the enrolment of multiple devices by multiple market participants, and development of a cost efficient and scalable pathway to device orchestration for both system security and customer benefits. | Retailers and networks are still early in their journey when it comes to CER management, they are also trialling different approaches to register, connect and control devices. Due to the above factors each retailer and network are at different levels of readiness and have different requirements for the Platform. The value of flexibility varies across device type. The project focuses on the device registration and connectivity of residential hot water systems, solar inverters, EV chargers, residential batteries and pool pumps. The value of flexibility for each device to a retailer varies according to a few factors including: - the typical load or generation profile. - the maximum load or generation output. - the extent that the device can be operated flexibly without impacting consumer experience. Managing daily EV charging was found to have the most value, as charging is deferred to avoid the evening peak period. Shifting hot water and pool pump load was also found to have material benefits, providing annualised savings of over $100 in most NEM regions. Standards adoption is still at an early stage. The DER Integration API Technical Work Group has developed the CSIP-AUS standard to facilitate easier integration with CER devices. The continued adoption of this standard will streamline the process of integrating with OEM platforms, essential for achieving large scale registration and active management of CER devices. | https://arena.gov.au/projects/intellihub-demand-flexibility-platform-project/
Australia | Origin | Origin EV Smart Charging Trial | Technology Development/Integration (4); Network Management (1); Customer Engagement (4); Market Development (1) | Origin connected 200 EV smart chargers to a VPP (‘Loop’). The aims of the trial were to increase understanding of: - The potential to shift EV charging outside of peak demand periods and towards times when they are high renewables. - Consumer willingness to allow management of EV charging, and their experience and satisfaction with managed charging. - The business case for managed EV charging | Completed | Origin’s VPP will provide charging instructions to: - Maximise consumption of renewables - Minimise wholesale energy costs - Comply with user preference for priority charging | The trial commenced in August 2020 and involves: 1. Installing and connecting at least 150 smart chargers onto Origin’s Virtual Power Plant 2. Capturing data on EV charging patterns. Data will be captured during a baseline period of unmanaged charging followed by a period of smart charging with different incentives and price signals. 3. Capturing data on how much energy usage can be shifted through smart charging. 4. Longitudinal study on drivers to explore customer perceptions, motivations and experience in smart charging and driving. | Participants were willing to augment their charging behaviour for incentives and to allow Origin to control their chargers for incentives | https://arena.gov.au/assets/2022/05/origin-energy-electric-vehicles-smart-charging-trial-lessons-learnt-2.pdf
Australia | RACE 2030 | Business Power Flex | Technology Development/Integration (6); Customer Engagement (4); | This project will assist different commercial and industrial users to identify the optimal combinations of flexible demand, embedded generation and storage to minimise cost and greenhouse emissions by better aligning supply with demand. Initial pilots options are being developed with three partners (Seeley International, AGL and Sydney Water) across a range of potential applications, including commercial buildings, a supermarket, airport, cold store, water pumping and EV charging. Partnering with UTS, Griffith University, UNSW, AGL, Sydney Water, Seeley International | In-progress | 1. Identify and quantify commercial and industrial electricity loads, such as heating, cooling, heat pumps, EV charging and other flexible loads, that can be shifted towards the middle of the day when cheap renewable energy is readily available 2. Identify innovative pricing and incentives that signal relative capacity constraints 3. Implement at least 3 pilot studies to test identified opportunities and shared findings publicly. | To map and value potential FD solutions for busineses, and deliver a workshop with policymakers and regulators to support adoption of innovative electricity pricing and incentives. |  | https://arena.gov.au/assets/2024/06/UTS-Flexible-Demand-State-of-Play-in-Aust-Report.pdf
Australia | SAPN | Energy Masters' project | Network Management (2); Customer Engagement (5); Market Development (3). | This pilot is being developed by SAPN together with the SA Government (Department for Energy and Mining), energy retailer Amber Electric, finance partners Plenti and the Clean Energy Finance Corporation, appliance installer MAC Trade Services, and research partner RACE for 2030. The pilot includes 500 homes and focusses on home electrification and flexible demand. The pilot aims to identify opportunities, barriers and risks associated with widespread uptake of electric home and FD technologies, while trialling new technologies and services to minimise impacts on the grid and maximise value for consumers, including basic, sophisticated and orchestrated home energy management systems (HEMS). Partnering with RACE 2030, ARENA | In-progress | 1. Trial flexible appliances and home energy management technology, 2. Trial simple, customer-focused ‘flexible’ energy service offerings (including both retailer and network offers) to access the benefits of flexible appliances and homes, and 3. Share the learnings to make energy-smart homes a reality at scale across Australia. | Recruitment of 500 households to participate in the pilot will be led by the Government of South Australia. Participating customers will have access to appliance subsidies, simple retail offers, and a smart home energy management system to optimise their home energy use across devices such as solar panels, batteries, electric vehicle chargers, heat pump hot water systems and split-system air-conditioning which can respond to network and market signals. In return, households will participate in a research program led by RACE for 2030, that will help demonstrate the value of energy-smart households and provide valuable information about device interoperability to inform the development of national standards. |  | https://www.sapowernetworks.com.au/data/318266/-energy-masters-project-south-australians-to-benefit-from-smart-and-flexible-homes/
Australia | Western Power | Project Symphony | Technology Development/Integration (5); Market Development (5) | Project Symphony recruited 900 DER assets from approximately 470 customers on a single electricity distribution feeder in Southern River, Southeast of Perth, to design, procure, develop, implement, and test software based ‘platforms’ to register, aggregate and orchestrate DER. Partnered with UTS Institute for Sustainable Futures, AEMO, Synergy | Completed | To understand how the opportunities and challenges of increasing DER can be managed to ensure a reliable, secure, and affordable electricity system. | Demonstrate the feasibility of orchestrating of DER assets. The Pilot to test the ability of Distributed Energy Resources (DER) to participate in a simulation of the Wholesale Electricity Market (WEM) while simultaneously providing peak load support to improve the reliability of the local network. | - Adopt a single communications protocol for all inverter-based DER (CSIP-AUS) to maximise asset interoperability. - Establish a ‘DER Test Lab’ accessible by DSO, Aggregator and DMO to prototype and test DER integration products and solutions prior to rollout. - Explore opportunities to establish platform and communications solutions such as AMI to lower risk and achieve greater efficiencies. - Mandate adoption of AS4755 Demand Response Standard by OEMs to enable greater interoperability of air conditioners for load management by aggregators. - Review and reform end to end DER installation, connection, commissioning and compliance processes - Develop incentives to accelerate the take-up of energy storage, bringing forward power system and decarbonisation benefits. - Introduce dynamic network connections to enable unconstrained connection of DER onto Western Power’s network to improve customer choice and flexibility whilst contributing to decarbonisation. - Review and reform end to end DER installation, connection, commissioning and compliance processes. | https://arena.gov.au/assets/2024/06/Western-Power-Project-Symphony-Final-Lessons-Learnt-Report.pdf
Cyprus France Hungary Italy Norway Sweden | COLLECTiEF consortium | COLLECTiEF | Technology Development/Integration (7); Customer Engagement (3) | Collective Intelligence for Energy Flexibility. Development of software and hardware packages for a Collective Intelligence-based demand-side management (CI-DSM) that increases data security, energy flexibility and climate resilience of existing buildings while reducing installation cost, data transfer and computational power. | In progress | Develop, implement and test a Collective Intelligence-based framework within thirteen pilot buildings and a living laboratory in four locations, Ålesund (Norway), Nicosia (Cyprus), Grenoble (France) and Milan (Italy). | COLLECTiEF will enhance, implement, test and evaluate an interoperable and scaleable energy management system based on Collective intelligence (CI) that allows easy and seamless integration of legacy equipment into a collaborative network with reduced installation cost, data transfer and computational power while increasing data security, energy flexibility and climate resilience. |  | http://www.collectief-project.eu
France | SAP | BeFlexible Pilot 3.5 & 3.6 Pilot | Technology Development/Integration (3); Customer Engagement (2); Market Development (5) | The backbone for this pilot is already running several pilot customers including CPOs, Town and Companies. However mainstream CP management systems are passive consumers and only few of them include smart EMS. Partnering with STEMY, TV, INESC, SOUL | Planned | The goal is to extend its capabilities to be an active node of the flexible market to enable price and carbon footprint optimisation, to leverage and develop added value services targeting both end users and site managers, and to leverage services provided by participants to wider the approach and better advise employees. | BeFlexible project and its concepts will be demonstrated and validated in several, diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. |  | PILOT TEST - BeFlexible
France Ireland Italy UK |  | iBECOME | Technology Development/Integration (7); Market Development (3) | iBECOME – intelligent Building Energy Assets Control for Comfort, Energy and Flexibility Optimisation. Reducing energy consumption and carbon footprint by smart and sustainable use. | Completed | To increase intelligence, decarbonisation and decentralisation of the energy system by transforming building and operation data into products that can be profitable in the innovative business framework. | iBECOME develops a scalable and modular Software-as-a-Service (SaaS) platform that operates as a powerful virtual BMS (vBMS – mind of the system) in order to optimize: energy performance, comfort conditions and flexibility potential within buildings and facilities. |  | https://www.enlit.world/projects/ibecome/
Germany | SINTEG | Altdorfer Flexmarkt | Technology Development/Integration (5); Market Development (5) | The Altdorfer Flexmarkt - a smart market platform - is a concept for the utilization of flexibility, their efficient use and the assurance of a coordinated call-off. Altdorfer Flexmarkt is a project developed within C/sells to unlock existing small-scale flexibilities by identifying them and lowering entry barriers. SINTEG C/sells set up three research pilots, i.e. ALF, ReFLEX, and Comax, to explore flexibility markets in different contexts, including different voltage levels, grid topologies, and available resources. Insights generated from all three pilots will be used to propose one joint SINTEG C/sells flexibility market blueprint. | In-progress | 1. Unlock small-scale flexibility 2. Develop a platform to solve congestion management issues in the distribution grid using decentralised assets (focus on small-scale assets). | For the Altdorfer Flexmarkt, the tools to identify the congestion will be presented as a solution to data-sharing issues between the DSO and the market operator. | In the Altdorfer Flexmarkt, the DSOs need to create a topological assignment matrix to benefit from the services provided by the platform. This matrix allows the IE to assess if a flexibility offer can solve the congestion at the node through influence factors. | REF: Markets for Local Flexibility in Distribution Networks
Germany | SINTEG | ReFLEX Dillenburg | Technology Development/Integration (5); Market Development (5) | Develop a market platform to tap flexible assets in the distribution grid. | In-progress | To improve system operation and reduce renewable energy curtailment (focus on load potential). | B2C automated flexibility aggregation architectures and advanced DFA markets | Availability payment; Pay-as-bid; Free with regulated elements | Markets for Local Flexibility in Distribution Networks
Germany | SINTEG | Comax | Technology Development/Integration (5); Market Development (5) | Develop a coordination platform | In-progress | To promote congestion management with small-scale flexibility on lower voltage levels and improve grid operator coordination. | B2C automated flexibility aggregation architectures and advanced DFA markets | Incentives for flexibility- Dispatch payment; Pay-as-bid; Regulated | Markets for Local Flexibility in Distribution Networks
Germany | SINTEG | ENKO | Customer Engagement (5); Market Development (5) | Develop a coordination mechanism for grid operators | In-progress | To showcase the potential of local loads as an alternative to redispatch, and renewable energy curtailment. | Determine prices by applying procedures similar to administrative congestion management regimes. | Dispatch payment; Pay-as-bid; Regulated | Markets for Local Flexibility in Distribution Networks
Germany | TenneT | enera Flexmarkt | Technology Development/Integration (5); Market Development (5) | The enera Flexmarkt, which focused on network congestion management, was developed in the context of the enera research programme under the smart energy showcase - digital agenda for the energy transition (SINTEG) funding programme. Producers and consumers were integrated into the digital infrastructure. This enabled network operators and marketers to operate equally on the Flexmarkt via their virtual power plants. Partnered with Avacon Netz, EWE NETZ | Completed | The enera Flexmarkt provides network operators with a market-based alternative for regulating renewable energies in the event of network bottlenecks. | Reduction of renewable curtailment for alleviating network congestions and of the associated costs for network operators. | The enera Flexmarkt remained a pilot project. A key reason for this were the regulatory decisions regarding redispatching in Germany. Under current developments, redispatching remains a regulated process in which demand cannot participate | JRC Publications Repository - Local electricity flexibility markets in Europe
Germany |  | Bne Flexmarkt | Customer Engagement (3); Market Development (7) | Bne Flexmarkt - Flexibility Market Proposal The bne Flexmarkt proposes fixed bonus payments or grid fee reductions in return for entering into midto long-term flexibility contracts with the grid operator. Payments would be determined by grid operators together with the regulator and would be the same for the entire German bidding zone. | Proposed | Reform German grid fee regulation to tap existing and incentivise new resources for congestion management in the distribution grid and reduce concurrence. |  |  | Markets for Local Flexibility in Distribution Networks
Germany |  | DA/RE | Customer Engagement (3); Market Development (7) | DA/RE - Flexibility Market Proposal - focuses on the coordination of resources that are included in administrative, cost-based congestion management. They are compensated accordingly. Still, DA/RE also includes other resources and allows free price formation for them. | Pilot | Develop IT platform to tap flexibility potential located on the distribution grid for congestion management and improve coordination between grid operators. |  |  | Markets for Local Flexibility in Distribution Networks
Germany |  | Grid Integration | Technology Development/Integration (5); Network Management (3); Market Development (2) | Grid integration - Flexibility Market Proposal - Grid Integration focus on the medium-voltage level for their initial stages of piloting. | Proposed | Develop a flexibility market platform with largely automated processes to improve congestion management in the distribution grid. |  |  | Markets for Local Flexibility in Distribution Networks
Germany |  | FEVER | Technology Development/Integration (7); Market Development (3) | Orchestrating flexibilities to enable the energy transition. Flexible Energy Production, Demand and Storage-based Virtual Power Plants for Electricity Markets and Resilient DSO Operation. Deploying AI, ledger technologies, peer-to-peer trading and a toolbox comprising advanced monitoring and prediction algorithms, FEVER empowers DSOs to better observe and manage their grids. Partnering with seventeen others from eight European countries | Completed | FEVER demonstrates and implements solutions that leverage the potential of flexibility in generation, consumption and storage of electricity for optimal management of power grids. |  | The outcome of the work led to certain Key Exploitable Results (KERs), which represent the main tangible outcomes, assets or findings holding significant value e.g., Factory Energy Management System (FEMS); Flexibility Service Providing Agent (FSPA); Microgrid Operation Scheduler; Vehicle-to-Grid (V2G) Charger; Flexibility Trading Platform (FTP) etc. | https://www.enlit.world/projects/fever/
Germany | SINTEG | Flexibilitatsplattform | Technology Development/Integration (5); Market Development (5) | Expand congestion management options by tapping additional flexibility sources connected to the distribution grid. | In-progress | Design of regional flexibility markets for electricity |  |  | Markets for Local Flexibility in Distribution Networks
Italy | Areti | Pilot 1.1 [ARETI] Rome (ITALY) | Technology Development/Integration (7); Market Development (3) | A heterogeneous group of 11 pilots will be deployed in 4 countries (Italy, Sweden, Spain and France) that have been selected to cover a broad range of energy behaviours, consumers and grid typologies and to test the solutions in distinct regulatory environments and in alignment with national plans for the energy transition in 2030. Pilot - 1.1 Cross-sectoral business involved (water, EVs, residential and industrial customers). BeFlexible's roman demo will upgrade the following platforms developed in the EU Platone Project: the DSO TP, a platform able to elaborate local flexibility requests and to assess the grid constraints; the Blockchain Access Layer, a solution able to certify the flexibility data for the settlement phase (the Blockchain Access Layer increases the trust in the market and avoids disputes between stakeholders); the flexibility register. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. | Planned | The main goal of these pilots will be to assess the impact of the services, platforms and architectures, to validate the consumer engagement strategies to enabling a proper interaction among all energy actors and fostering the market uptake. |  |  | PILOT TEST - BeFlexible
Italy | EDI | Pilot 1.2 [EDI, ENEL] South Italy and Pilot 1.3 North of Italy | Technology Development/Integration (1); Network Management: (2); Customer Engagement (1); Market Development (6) | Pilot 1.2 & 1.3. Flexibility from aggregated distributed resources. This pilot leverages the already developed DSO technical platform (DERMS to plan and operate local flexibility) and DSO Local Market platform for bilateral contracts. Local Flexibility services are scheduled depending on short term forecast of grid congestions and voltage control needs. Both TSO-DSO coordination and BSP communication will be improved through block-chain based layer. Test advanced solutions for remote control and grid automation allowing data exchange between the DERs and the DSO/TSO eventually via the BSP, also for observability issues, and the activation and provision of all the necessary services to be provided using PGUI. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. | Planned | Flexibility from aggregated distributed resources |  |  | PILOT TEST - BeFlexible
Netherlands | TenneT | GOPACS | Technology Development/Integration (5); Market Development (5) | GOPACS ( Grid Operators Platform for Congestion Solutions) was one of the first TSO-DSO coordination platforms implemented for solving network congestion. GOPACS is integrated into the existing sequence of wholesale markets by resourcing flexibility from existing market platforms. So far the only collaborating market platform has been the Energy Trading Platform Amsterdam, but from May 2022, the participation of EPEX SPOT, by far the largest power exchange in the Netherlands, is going to change that. Partnering with Coteq; Enexis; Liander; Rendo; Stedin; Westland Infra | On going | Help Reduce Congestion: To keep the electricity grid stable and reliable, effective congestion management is essential. This requires adjustable, flexible capacity from market participants and large commercial users. This capacity is made available through the GOPACS platform, which serves as the key tool for grid operators. |  | The procurement unit flexibility cost for the DSO Liander is approximately 1.5 the cost for the TSO (TenneT). This is mainly due to lower liquidity for solving congestions in specific parts of the distribution network. | JRC Publications Repository - Local electricity flexibility markets in Europe
Norway | Agder Energi | NorFlex | Technology Development/Integration (1); Network Management (3); Customer Engagement (1); Market Development (5) | Norflex is an umbrella demonstration project that ran from 2019 to 2022 by two Norwegian DSOs (Agder Energi and Glitre Energi) and Statnett, the national TSO. The main focus of the project was the activation of flexibility for network expansion deferral and congestion management in the distribution system, while residual flexibility is aggregated to offer mFRR services to the TSO. | Completed |  | The NorFlex project set up a marketplace in which only network operators procure flexibility, with the DSO having precedence over the TSO. Trading for flexibility services to the DSOs is organised per congestion area in the 132 kV grid downwards. After the DSOs have covered their needs, the residual flexibility is made available to the TSO mFRR market (from the winter of 2021/2022) in minimum blocks of 1 MW. According to the publicly available results, 225 MWh of flexibility was procured in the NorFlex market in 2021, with a weighted average price of NOK 6593/MWh (EUR 659.3/MWh ). | The liquidity in the ShortFlex continuous market has proven to be larger than in the LongFlex owing to both the supply side (the characteristics of the flexibility assets in participating FSPs’ portfolios) and the demand side (larger variability of power flows in the network forcing the buying network operators to update their flexibility needs closer to real time). On the other hand, the price of flexibility in the ShortFlex was significantly larger than in the LongFlex. | JRC Publications Repository - Local electricity flexibility markets in Europe
Norway |  | FLEXGRID | Technology Development/Integration (5); Network Management (3); Market Development (2). | Future smart grids require the effective interaction between electricity markets and grid management systems in order to introduce new services and mitigate risks introduced by high RES penetration. FLEXGRID envisages the orchestration of advanced electricity grid models and tools, flexibility assets’ management tools, and data analytics and accurate RES forecasts. Project proposes a holistic future smart grid architecture able to accommodate high RES penetration through the advancement, interaction and integration |  | 1. DSOs/TSOs manage safely and at low cost their electricity grid by interacting with ESPs and RESPs through novel flexibility market procedures; 2. Modern ESPs become more competitive and sustainable, and 3. RESPs optimally compose and exploit their production in a risk-averse manner by making their RES generation dispatchable. |  |  | https://www.enlit.world/projects/flexgrid/
Portugal |  | Euniversal | Technology Development/Integration (5); Network Management (2); Market Development (3) | The EUniversal project, funded by the European Union aims to develop a universal approach on the use of flexibility by Distribution System Operators (DSO) and their interaction with the new flexibility markets, enabled through the development of the concept of the Universal Market Enabling Interface (UMEI) ‘ a unique approach to foster interoperability across Europe. |  | 1. Enable the transformation of the energy system into a new multi-energy and multi-consumer concept ensuring a sustainable, secure and stable electricity supply. 2. Present a universal, adaptable and modular approach through a Universal Market Enabling Interface (UMEI) to interconnect the active management of the system with the electricity markets through the provision of flexibility services. 3. Define, develop and validate a set of market-oriented flexibility management services for distributed energy resources (DER) in a real-world environment under a major scenario of integration of renewable energy sources (RES) and high electrification scenario. | Demonstrate the services generated in the development phase of the project at 3 different sites, located in Portugal (PT), Germany (DE) and Poland (PL). |  | https://www.e-redes.pt/en/euniversal
Spain | EDE | Pilot 3.3 [i-DE] Iberdrola Pilot Bilbao | Technology Development/Integration (5); Network Management (1); Customer Engagement (1); Market Development (3) | Pilot 3.3. Congestion Management Through Demand Response. Battery management will be tested to schedule the provision of different services to the DSO and TSO, apart from arbitrage. Integration of different protocol-based charging points with the CP management platform, to increase interoperability will be tested, and Data-driven algorithms will be tested in a grid area in order to identify efficient aggregations to offer flexibility and maximize benefits. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. Partner with TV | Planned |  |  |  | PILOT TEST - BeFlexible
Spain | i-DE | Pilot 3.1 [i-DE] Iberdrola Pilot in Madrid (SPAIN) | Technology Development/Integration (6); Network Management (1); Customer Engagement (2); Market Development (1) | Pilot 3.1. Congestion management through demand response. Different optimisation algorithms will be tested in EV chargers, and also the blockchain in the aggregation platform for energy trading. On the other side, Energy consumption or cost optimisation and flexibility identification will be tested in Home Energy Management Systems (HEMS) of residential customers. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. Partnering with IBCLIES; Iberdrola; SOUL; TLX | Planned |  |  |  | PILOT TEST - BeFlexible
Spain | i-DE | Pilot 3.2 [i-DE] Iberdrola Pilot Benidorm (SPAIN) | Technology Development/Integration (6); Network Management: (1); Customer Engagement (2); Market Development (1). | Pilot 3.2. Congestion management through demand response. Data-driven algorithms will be tested in a grid area in order to identify efficient aggregations to offer flexibility and maximise benefits, and Energy consumption or cost optimisation and flexibility identification will be tested in Home Energy Management Systems (HEMS) of residential customers. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. Partnering with IBCLIES; Iberdrola; SOUL; TLX | Planned |  |  |  | PILOT TEST - BeFlexible
Sweden | E.ON | E.ON pilot | Technology Development/Integration (1); Network Management (1); Customer Engagement (2); Market Development (6) | Pilot 2.1. Flex markets for congestion management. The aim of this pilot is to increase the seller liquidity in Swedish congestion areas and the knowledge in the aggregation sphere. Moreover, an improvement on current business models for flex markets and the development of new where needed, together with an increased knowledge and internal capabilities in the DSO business to realize potential applications of flexibility are expected. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. Partnering with EONEIS and GECO | Planned |  |  |  | PILOT TEST - BeFlexible
Sweden | EONEIS | Pilot 2.2 EONEIS pilot | Technology Development/Integration (1); Network Management (2); Customer Engagement (1); Market Development (6) | Pilot 2.2. Unlocking flex from buildings. In order to build aggregation capabilities EONEIS will carry out a pilot where loads in building will be unlocked for flexibility reasons, both for DSO and TSO markets. The goal of this pilot consists of easing market participation and increasing liquidity for grid flexibility as a flexibility enabler and aggregator, by developing and testing concepts/services based on local energy production, storage and control. BeFlexible project and its concepts will be demonstrated and validated in several and diverse environments, in terms of types of consumers, geographical and climate areas and energy loads. Partnering with GECO | Planned |  |  |  | PILOT TEST - BeFlexible
Sweden | Svenksa kraftnat | Sthlmflex project | Network Management (3); Market Development (7) | In Sweden, the TSO offers a guaranteed amount of power withdrawal capability at each TSO/DSO interface point (called a network subscription). A mechanism of temporary subscriptions comes on top, allowing the guaranteed network subscription capacity to be temporarily exceeded upon agreement from the TSO, with a financial penalty to be paid by the DSO. The sthlmflex flexibility marketplace is deployed in the Stockholm area to address a lack of network capacity, and it is a continuation of pilot projects on local flexibility markets developed in other parts of Sweden in the context of the CoordiNet Horizon 2020 project. Partnering with Ellevio (regional DSO); Vattenfall Eldistribution (regional DSO); E.ON Energidistribution AB (local DSO) | On going | The targeted flexibility services include investment deferral, operational congestion management and enhancing network resilience. sthlmflex aims to enhance both TSO/DSO and DSO/DSO coordination | Industrial and commercial customers, producers involved in the power and heat sector, and smaller assets via aggregators, including independent aggregators, currently take part in the market | The survey results indicate that, in the future, reactive power flexibility services may be required, mainly avoiding the injection of reactive power from the distribution system to the transmission system. Market-based procurement can be an option, albeit with quite a different architecture, as, according to the stakeholders, longterm contracts would be more suitable than short-term trading for such services. | JRC Publications Repository - Local electricity flexibility markets in Europe
UK | Octopus Energy | Future role for Electric Vehicles for Great Britain | Technology Development/Integration (7); Customer Engagement (3) | Octopus Energy and National Grid ESO demonstrate future role for Electric Vehicles in first for Great Britain, successfully demonstrating viability of vehicle-to-grid (V2G) technology for the first time in Great Britain. Tests show that consumers with V2G could play an active part in the future, balancing the grid for the first time. Potential for savings to be passed on to consumers, even if they didn’t actively participate - bringing down energy bills for everyone | Completed | To show that electric vehicles can receive a direct signal from the ESO to support system balancing. | A series of initial tests of charging and discharging the batteries of up to 20 electric cars from participating customers at times of grid imbalance. | An hour of a million EVs exporting to the grid could generate the same amount of power as 5,500 onshore wind turbines. Separate analysis from Octopus Energy's electric vehicles arm shows that if the trial results were extrapolated across a whole year, the EVs could realise a profit of around 62 million pounds p/a, whilst also saving non-participating customers money through grid balancing cost reductions. Further analysis shows customers could realise a potential saving of up to 840 pounds per year, compared to unscheduled charging on a flat rate tariff. When a service is up and running, consumers could save cash off their energy bills as the BM incentivises the use of their car battery as a balancing device, contributing to reduced balancing costs across the network, which will help to reduce bills for all energy consumers. | https://octopus.energy/press/octopus-energy-and-national-grid-eso-demonstrate-future-role-for-electric-vehicles-in-first-for-great-britain/
USA | The Mobility House | Replicable V2X Deployment For Schools (RVXDS) | Technology Development/Integration (5); Network Management (5); | The Mobility House will implement 12 bidirectional chargers at four California school locations. The project, termed "Replicable V2X Deployment For Schools (RVXDS)", will utilize school bus fleets to mitigate regional grid emergencies - especially during peak summertime windows. Interest is to establish real-world examples of V2G projects that other districts can easily replicate. | In progress | To establish real-world examples of V2G projects that other districts can easily replicate. Through this project, it is aimed to reduce congestion on the same circuits by reducing the need for imported power, thus benefitting three school districts, the State of California, and grid reliability. | Three of the schools will export power from their buses during peak windows in the summer, earning the districts $2 per kWh through the Emergency Load Reduction Program (ELRP), and helping keep the distribution system of their communities from overloading. One school will use bidirectional functionality for V2B resilience, to act as a community resilience hub at their high school. |  | https://www.mobilityhouse.com/usa_en/our-company/newsroom/article/cec-grant-bidirectional-school-bus-charging